F/22/93229 – Steeple Court Winery, Church Lane, Botley, SO30 2EQ.

# Context.

The site is within the Botley Conservation Area as extended in 1988 and within Zone 5 of this.  The original designation which only included the historical core of the village and the associated River Hamble came down as far as Pudbrook Lake – The River Hamble tributary just north of this site.

The nearest listed building is Steeple Court itself which is some 200 metres to the south of this application site facing west, separated by numerous trees and all within the same ownership.  Just across Pudbrook Lake some 50 metres to the north is The Old Bark Store listed in the draft revision of the conservation area appraisal as one of the  ‘other buildings of significance’.  This building with the adjacent quay was an important port and industrial centre in the 18th. and 19th. centuries.  Neither will be adversely affected by this proposal.

# The Proposal.

# The existing winery has been in place for many years and had a low-pitched, corrugated sheet roof removed by various recent storms.  The building had looked some-what forlorn for some time.

# This current proposal is to put a new roof on the building consisting of plain tiles at a 35 degree pitch with cement based weatherboarding to the gables.  This will provide a low maintenance solution far more in keeping with locale. Clay tiles are specified on the drawing which would be preferable and lighter in weight than concrete, but timber weatherboarding is specified here too but Cedral is referred to in the application form which is cement based and longer lasting with less maintenance than timber.  Either would be acceptable.

# In addition to the roof change some of the access openings are to be altered.  The current ones are in the south elevation but the new ones are to face the road and be either roller shutters or up and over doors.  Raw, bright, galvanised steel would not look very cleaver, so dark coloured ones would be more in keeping with the area.

# Conclusion.

# Good to hear that this structure is to be revived and brought back into use, no objection provided the doors facing the road are not just galvanised but a coloured finish to maintain the quality of the conservation area.

# 19.07.2022.

Tim J S Dyer, B.Sc.,Dip.Arch.(Birm), Grad.Dip.Conservation(AA), RIBA.

Built Heritage Consultant.