Ecology response for O/22/93578 GLENBOURNE, 9 UPPER NORTHAM CLOSE, HEDGE END, SOUTHAMPTON, SO30 4BB

Outline Planning Application for 1 no. 3-bedroom dwelling with associated parking following demolition of outbuilding and alterations to existing dwelling parking

Clare Martin

5 September 2022

I have reviewed the DAS by HJ Concepts Ltd (Aug 2022) and the Arboricultural report by Johnston Tree Consultancy (July 2022).

A Preliminary Ecological Assessment is required. The area of the vegetable garden looks like it has reptile habitat potential, and any compost heaps will need to be checked before removal.  The shed, hedge, and cherry tree proposed to be removed may have bird nesting potential. Removing the ivy from the two mature oak trees to be retained may also disturb any bats that might be roosting.

If the ground is suitable for a soakaway, then it can be conditioned. This needs to be supported by either evidence that soakaways are in use in neighbouring properties, or infiltration test results.

Lisa Malter

Ecologist