Ecology response amended for F/22/93528 HAMPSHIRE FIRE AND RESCUE SERVICE HEADQUARTERS, LEIGH ROAD, EASTLEIGH, SO50 9SJ
Installation of new sprinkler system to the HQ Fleet building with a sprinkler tank and pump house to the rear of the existing building.
Alex Webb
13/10/22
I have reviewed the email from George Jewell (11 October 2022) and am now satisfied that no potential slow worm habitat will be affected by this proposal. An ecological assessment will not be needed, and the existing drainage system will be appropriate for this use, which would only be in case of a fire in the building. I have no further concerns. 
Lisa Malter
Ecologist
11/10/22
There is a population of slow worms on site which was found during the work on the proposed fire training facility F/22/93473 located adjacent to this proposal. There is slow worm habitat near where the pump house and sprinkler storage tank are proposed to be located. This application also involves excavation for underground pipe work throughout the site, which could affect other areas of potential habitat. 

An ecological assessment will be needed. The ecological consultancy that did the assessment for F/22/93473 would already have all the data needed to write this report. 

The Sprinkler Water Supply Plans and Sections drawing by Hilson Moran (P02, July 2022) shows a tank overflow to discharge at low level. What is the path of any proposed water discharge from this tank or from the sprinklers after they have been activated?  The Sprinkler System Schematic diagram by Hilson Moran (P02, July 2022) shows the water that enters the sprinkler system but not water leaving it. There is also a reference to office areas protected in next phase of works on this diagram. The Sprinkler Water Supply Plans & Sections Underground Mains Details by Hilson Moran (P02, July 2022) show the elevations of both buildings but no rain gutters or connections to a surface water system. 
There is no specific surface water drainage information here. Where does the water flow from the existing hardstanding? 

As with any planning application, biodiversity enhancement will be required. 

Lisa Malter
Ecologist



