Ecology response amended for F/22/93597 SOUTHAMPTON AUDI, BRICKFIELD LANE, CHANDLER'S FORD, EASTLEIGH, SO53 4DP

Extension to existing vehicle workshop building

Rachael Morris

18 October 2022

I have reviewed the drainage report by Scott White and Hookins (rev 01, October 2022). I am now satisfied that the surface water drainage arrangements will be appropriate.

Lisa Malter

Ecologist

1 September 2022

The proposed extension will be built on existing hardstanding, however the path of the surface water drainage from the roof must be shown. The capacity of the existing system must be checked to ensure that it is capable of handling the additional volume of surface water drainage from the roof of the extension.

The building may have some potential for nesting birds, so construction should be done outside of nesting bird season (i.e. done between August and February). If this is not possible, then a nesting bird check by a suitably qualified ecologist must be done no more than 24 hours before the start of construction. If any active nests are found, a 5 m buffer must be erected around the nest and remain in place so that the nest is undisturbed, until after the young have fledged and left the nest.

Biodiversity enhancement is required. Swift or sparrow nest boxes would be appropriate in this location.

Swift nest boxes are best positioned under the eaves or on walls facing north, northeast or north-west out of direct sunlight, five metres above the ground, with clear adjacent airspace so swifts can access them in a high-speed direct flight. (https://www.swiftconservation.org/Nestboxes%26Attraction.htm )

Additional information is available at:

https://www.hampshireswifts.co.uk/nesting

https://www.rspb.org.uk/birds-and-wildlife/advice/how-you-can-help-birds/nestboxes/nestboxes-for-small-birds/

Lisa Malter

Ecologist