Ecology response for F/22/93954 LONG GARDEN COTTAGE, WINCHESTER ROAD, BOTLEY, SOUTHAMPTON, SO32 2BX

Erection of 2no. detached dwellings

Rachael Morris

8/11/22

I have reviewed the Preliminary Ecological Appraisal by Collington Winter Environmental (Rev 2, October 2022). The recommendations in this report are sound and shall be implemented. This includes:

Any vegetation removal should be undertaken outside of the breeding bird season (March to September, inclusive). If this is not possible, a suitably qualified ecologist should undertake a nesting bird check no more than 48 hours prior to removal. If nesting activity is observed, the nest(s) should be left in situ until the young have fledged and left the nest. A suitable buffer (at least 5 m) will be maintained and determined by the ecologist.

Any proposed lighting/existing lighting should follow the guidance outlined in the Institute for Lighting Engineers document “Guidance for the Reduction of Obtrusive Lighting” (2005) and BCT’s “Bats and Artificial Lighting in the UK” (2018). The lighting recommendations in section 4.3.12 are appropriate.

The precautionary working methods for reptiles, breeding birds, badgers and terrestrial mammals such as hedgehogs described in the report are appropriate and can be conditioned.

The location of a proposed reptile receptor site (described as retained grassland to the south of the site) is not clear. This must be identified on a plan, checked for the presence of an existing reptile population and enhanced if necessary.

Removal of potential hedgehog habitat must not take place from November through March when animals may be hibernating. No fires can be lit on site.

Any closed board fencing that is erected at the property boundaries must have periodic holes (measuring 13cm by 13 cm minimum) at its base to allow the movement of animals, such as hedgehogs, to promote habitat connectivity and extended foraging ranges.

Biodiversity enhancement is required. Built-in (integral) bat and swift nest bricks or boxes should be built into the new dwellings. The locations and specifications of these features can be conditioned. The domestic gardens should be enhanced with additional flowering plants and shrubs which provide a long flowering period to attract pollinators. Native species of flowering shrubs and trees should be included in the planting scheme and non-flowering conifers should be avoided.

The DAS mentions the use of porous pavement, water butts and outfall to the watercourse along the northern edge of the site. This must be shown in a surface water drainage plan.

Lisa Malter

Ecologist