H/22/93920 Waters Edge, SO31 8DN
Construction of outdoors swimming pool

Ecology Response 9/11/22
Please could we have further information on the following:
1. The supporting document states that, if required, the pool wastewater will be drained to the existing drainage system. Is the existing drainage system, the water treatment plant as shown on one of the submitted plans?  What kind of treatment plant is it (and where is its outlet) and does it have the capacity to accommodate the pool wastewater?  
2. Will any chemicals be added to the pool at all or is the ultraviolet light proposed to be the only biocide?  The manufacturer’s details/ instructions regarding the pool’s water treatment would be useful.
3. The supporting document states that the spoil removed from the dig out will be reused to build up the level of the lawn.  How much is this anticipated to raise the levels across the area and is a retaining wall/ feature proposed to keep the spoil in place? 
4. What surface water management measures will be put in place during construction to reduce the risk of sediment runoff from the site?  The site boundary is at mean high water of the estuary (a turbid environment) and the adjacent habitat is mudflats, therefore the receiving environment is less sensitive to sediment run-off.  Nonetheless, the adjacent mudflats are designated as a SPA and influences from the site works should be kept to a minimum.  Additionally, we cannot be certain of the nature of the spoil e.g. it could be enriched.
5. What is the anticipated duration of the works?
We’ll need to carry out an HRA for this application due to its proximity to the SAC and SPA.

Sarah Boyd, Ecologist  

