Housing 21 Apartment  - 2 Bed 1 Bathroom 
HGP FLOOR PLAN LAYOUT: 19.024_HGP_FB1_XX_DR_A_223
This calculator is intended to inform design choices by demonstrating the likely impact of specification changes on total water consumption. Results can only be used to demonstrate compliance with Building Regulations when the calculations have been verified by a Building Control Officer.
Calculation summary
Installation Type	μ Value	× Usage	+ Fixed	= Total
Single Flush Toilets		4.42	0	
Dual Flush Toilets				
Washrooms Taps		1.58	1.58	
Baths Only			0	
Showers Only			0	
Kitchen/Utility Taps		0.44	10.36	
Washing Machine		2.1	0	
Dishwasher		3.6	0	
Waste Disposal		3.08	0	
Water Softener		1	0	
Grey Water Contribution		1	0	
Rain Water Contribution		1	0	
Total litres / person / day, including a normalisation factor of 0.91:	
Product details
No Single Flush Toilets
Dual Flush Toilet No. 1	3
Washroom Tap No. 1	5
Bath No. 1	130
Shower No. 1	10
Kitchen/Utility Tap No. 1	5
Generic Washing Machine	8.17 l / use
Generic Dishwasher	1.25 l / use
No Waste Disposal
No Water Softener
Grey Water Contribution: 
0 l/p/d used × 0 % recycled = 0 l/p/d available & max demand 0 l/p/d	= 0 l/p/d
Rain Water Contribution: 
0 m2 × 0 yield × 0 mm/year = 0 l/d × 0 % collected ÷ 0 occupants = 0 l/p & max demand 0 l/p/d	
= 0 l/p/d

You are within your maximum consumption of potable water: 125 litres / person / day.
Total potable water consumption as per your calculation: 104.61 litres / person / day.

