Housing 21 Apartment  - 2 Bed 1 Bathroom

HGP FLOOR PLAN LAYOUT: 19.024_HGP_FB1_XX_DR_A_223

This calculator is intended to inform design choices by demonstrating the likely impact of specification changes on total water consumption. Results can only be used to demonstrate compliance with Building Regulations when the calculations have been verified by a Building Control Officer.

Calculation summary

Installation Type	μ Value	× Usage	+ Fixed	= Total

Single Flush Toilets		4.42	0

Dual Flush Toilets

Washrooms Taps		1.58	1.58

Baths Only			0

Showers Only			0

Kitchen/Utility Taps		0.44	10.36

Washing Machine		2.1	0

Dishwasher		3.6	0

Waste Disposal		3.08	0

Water Softener		1	0

Grey Water Contribution		1	0

Rain Water Contribution		1	0

Total litres / person / day, including a normalisation factor of 0.91:

Product details

No Single Flush Toilets

Dual Flush Toilet No. 1	3

Washroom Tap No. 1	5

Bath No. 1	130

Shower No. 1	10

Kitchen/Utility Tap No. 1	5

Generic Washing Machine	8.17 l / use

Generic Dishwasher	1.25 l / use

No Waste Disposal

No Water Softener

Grey Water Contribution: 
0 l/p/d used × 0 % recycled = 0 l/p/d available & max demand 0 l/p/d	= 0 l/p/d

Rain Water Contribution: 
0 m2 × 0 yield × 0 mm/year = 0 l/d × 0 % collected ÷ 0 occupants = 0 l/p & max demand 0 l/p/d	
= 0 l/p/d

You are within your maximum consumption of potable water: 125 litres / person / day.

Total potable water consumption as per your calculation: 104.61 litres / person / day.