X/23/94505 – Removal/variation of conditions for land north of

Grange Road, Netley Abbey, Southampton.

Layout.

This is generally as the outline permission giving good spacing along the street front, largely in accord with the existing tempo of the north side of the street. The layout enables about 50% of the frontage to remain open space or gaps and the buildings have been kept away from the Grange Farm boundary and more particularly the rear more rural one, both of which are the boundary of the conservation area.

Materials.

This development is within designated countryside and adjacent to the Netley Abbey Conservation Area on two sides – it is therefore beholden on the developers to consider carefully their effect on the setting of this protected area. The policy for ‘new buildings  .  . affecting the setting of  Conservation Areas’  expects the proposal to ‘preserve or enhance the character or appearance of the Conservation Area or its setting’ and ‘ new development should not impinge on the setting of existing buildings. New development should use materials which are traditional to the conservation area and be of high quality.   Upvc has come a long way since the early days and faux slates too but roof tiles still need to be clay.

Foul Water Plant.

The foul water pumping station has now been re-sited to the north-west of the site ensuring that any odours should be dispersed to the north-east, clear of any buildings and most particularly those existing, by the prevailing south-west winds.  It is surprising that there is no dedicated parking bay for servicing this plant as malfunctions require immediate attendance and facilities to do so for the comfort of the whole estate.

Conclusion.

Natural slates would be preferable, particularly on the western boundary and front, and clay roof tiles are essential but they are referred to only as ‘Flamed Red’, concrete is not acceptable on this site.  Holding objection until this is clarified.

21.03.2023.

Tim J S Dyer, B.Sc.,Dip.Arch.(Birm), Grad.Dip.Conservation(AA), RIBA.

Built Heritage Consultant.