Chalcroft Business Park, Burnetts Lane

RM/23/94868 Single building solution

Landscape comments: Mark Ellison 3/7/23

Landscape Plan:  DD614L03

1. Main comment is that we’d like to have larger trees at the front of the development to increase the biomass of foliage and impact on the landscape and biodiversity. This is a wide road with large building that warrants large trees.

2. We’re now trying to re-introduce Elm into the borough to help with recovery of White Letter Hairstreak Butterfly populations. We recommend Ulmus ‘New Horizon’ from Hilliers. Please introduce a line of either these elm’s or alternatively another suitable native such as a lime. Perhaps a Tilia cordata cultivar (which doesn’t suffer from aphid residue).

The line should replace the existing trees at the front of the unit, except within 10 of the building.

3. We question the need for the pedestrian return around the northwest corner of the development adjacent to the road adjacent to the plant strip, especially given that the car park aisle is widened to give extra room for accessing the cars in the disabled spaces. Given the climate emergency this would be better incorporated into the planting bed to give more soil area for the trees.

Planting details Plan 2 : DD614L04

1. Please identify the nature of the existing and imported topsoil. If its pretty free draining I don’t think the new level of the tree needs to be raised. Also, I’m uneasy about a layer of new topsoil that is only 300mm deep. I’d prefer 450mm minimum, although happy to debate this with the landscape architect if I’ve missed some new evidence.

2. In the schedule, please clarify what size the Oxeye daisies will be planted.

3. In relation to the tree stock size we usually require a minimum of 14-16cm girth. However in the circumstances of this site and because the client has appointed a trusted local landscape firm we are happy to compromise on this with the following condition;

That the developer funds the landscape architect to visit Hilliers nursey in Liss or Ampfield to select the trees individually. In doing this it is usually possible if this is done early enough to select specimens that are at the top of the size range and also of a good balanced shape, with a strong leader and no wounds. If this is guaranteed then we’d be happy to accept the stock sizes specified.

Specification

1. Please clarify whether the landscape architects are to be retained to supervise the planting works on site. If they are not, then the specification needs to have more detail and not resort to the phrase ‘Submit proposals’.

2. Para 675 Preparation of undisturbed topsoil Where it exists in planting areas, the existing turf species should be thoroughly removed/ killed to prevent regrowth competing with establishing shrubs and trees, by whatever means.

3. There should be something included on thinning to avoid overcrowding within the shrub planting areas.