## SITE MEETING 28022023
Site meeting with LPA on 28/02/2023
Character Area | Site meeting notes | Response (Calderpeel Architects)
ALL | Planning Officers 1. LH requested that separation distances for the dwellings be provided, especially in regard to the units which are steeped due to level changes, as these will require greater separation distances. EM to provide justification that these distances are met / acceptable alongside cross-sections. 2. LH requested that a plan be prepared to detail all the public open spaces on-site to allow for a calculation of the total provision and any required financial contribution that will need to be made to address any shortfall. Landscaping and Urban Design 3. MO stated that greater justification was required around how resident access will work on Botley Road, especially on match-days, and how resident traffic will be prioritised. 4. MO supported the amended arrangement of the flat blocks, however requests that daylight/sunlight justification is also provided to support this. 5. MO set out that any proposed parking will require tree planting in line with the standards set out in the Quality Places SPD, and that the pedestrian link is reinforced. 6. TD also set out that some form of landscaping will be required on the proposed temporary parking area, to show some compliance with the Council’s guidance and that the proposed parking will be broken up in some way. 7. MO raised concerns around the location of the proposed care home and the usability of the garden spaces for residents. 8. Officers also raised concerns around the standard of accommodation of the split-level homes in terms of stability of the units and the amount of shading which would be received from the adjacent trees. 9. CS commented that the location of the care home and wellbeing building could be swapped. However, LH raised concerns that this would not comply with the necessary distances from the stadium required to reduce noise levels for residents – LH to check with Environmental Health. 10. LH set out that in order to address the Planning Policy Team’s objection to the care home, strong justification would need to be provided for the proposed unit and the local need. 11. LH also asked for confirmation regarding compliance with NDSS and the Council’s accessibility and wheelchair standards. LH also requested that the size of proposed parking ports are reviewed to ensure these are 3 metres in size. 12. Further information requested on the proposed surface treatments. 13. Requested that further information is provided on the ground floor proposals to the hotel. Trees 14. CS supported the removal of the monkey puzzle tree. Requested further justification that any category A trees along the north-western boundary would be protected from the development. As part of this justification CS requested that long sections and cross sections are also provided to demonstrate the site-levels, which LM also requested. 15. CS also set out that more detailed Arboricultural information was required, as well as any technical solutions proposed if any RPA’s will be affected by the proposals. Ecology 16. LM stated that a 20-metre buffer would be required between the woodland area and any form of development (including roads). Any deviations to this would need to be justified to officers. LM accepted that a 20m average would be acceptable, if we can show a clear betterment. 17. Requested that vegetation is provided around the lake to enhance this area. 18. LM and SB requested that flow direction plans be provided which also show catchment lines on the plan. 19. LM requested that percolation tests be carried out to demonstrate that surface water will not infiltrate the temporary parking area. Drainage 20. SR set out that some of the proposed sections would not meet Eastleigh Borough Guidance on Water Quality. 21. SR stated that inlets and outlets of basins should be suitably spaced. AC to confirm this to the Officer. 22. In regard to watercourse modelling, a 300m rise would be required. 23. More information required on the impact on land-take and how much space requires (to show that the required drainage treatments can be delivered within the proposed layout). 24. SR set out that surface water will need to pass through three forms of treatment before passing to the receiving watercourse. 25. The simple index approach listed in the SuDS manual must be complied with as a starting point | Please refer to the respective spreadsheet tabs for design team response. Revised scheme features the recommended seperation distances between dwellings taking into account the change in levels. Additional details on the site plans have been provided in relation to threshold levels and existing vs proposed levels and additional cross sections illustrating the level changes throughout the site. Plan has been provided that calculates the public and private open space across the site. To summarise: - 2000 Sq.m of continuous open space provided - 435 sq.m LEAP area added which is approx. 25m from any residential building - The POS provision exceeds the required circa 10,500 Sq.m and provides a POS area of 13,651 Sq.m. - All but 7 dwellings meet the private outdoor space standards of 60% of the total GIA. The 7 dwelling are within 10% of the 60% target and within 100m from outdoor amenity space. The dwellings fall below the threshold due to the introduction of the SINC ecology 20m offset. It has always been the case that no spectator vehicles will access the radial road which runs to the western edge of the bowl. They'll be light traffic of staff and players during match days that will be controlled at the roundabout by a marshall ensuring that only residents, staff and players are accessing the road beyond that point. House type F north facing gardens have now been raised to allow more sunlight over the dwellings. Care home residents have full access to the rear gardens? Access from the building is at first floor which is a level access into the garden. The landscape scheme provides as series of gradient ramps that climb up through the different terraces. A accessibility document and NDSS space standards spreadsheet has been provided that itemises the compliance of both the nationally described space standards and Doc M of the building regulations.

## CRIME PREVENTION
Crime prevention 23/09/2022
Character Area | Crime prevention feedback | Response (Calderpeel Architects)
Entrance (fan Space & Ramp) | These two areas contain large car parks. Vehicles parked within large car parks without any form of security are very vulnerable to crime, especially if there is easy public access. To reduce the opportunities for crime and disorder a Closed Circuit Television (CCTV) system should be installed with cameras deployed to provide images of the vehicles within the car parks. Large car parks are often used for unauthorised gatherings of motor vehicles. During these meetings the motor vehicles are driven inappropriately. In the past meetings have involved several hundred motor vehicles. Such meetings can cause issues with local residents and cause issues on the public highway. To reduce the opportunities for such meetings barriers such as gates should be fitted at the road access into the car parks. The barriers should be of robust construction and fitted with the relevant ironmongery to make the barriers secure in the both the open and closed positions. To reduce the opportunities for crime and disorder lighting conforming to the relevant section of BS EN 12464-2 should be provided. The lighting should be designed to work in conjunction with any CCTV cameras. A ramp is shown connecting the car park areas to the cricket ground, this will make an ideal feature for skate boarding etc. To reduce the opportunities for other activities gates should be fitted at either end of the ramp to enable the ramp to be secured when not in use. | CCTV system will be installed. On non-match days barriers will be installed to avoid any unwanted gatherings. As the existing hotel car park is now due to be reinstated this will be in constant use (as existing) and controlled, operated by the hotel provider. Lighting in accordance with the recommendations of BS EN 12464-2 will be installed and ensure the lighting works with the CCTV system used. Ramp omitted.
Residential | Access to the elevations of the dwellings from the public realm must be prevented. All dwellings must sit within an area of private space. The private space to the rear of the dwelling must be enclosed by a robust boundary treatment at least 1.8m high. The semi-private space to the front and side front of the dwelling must be enclosed within a robust boundary treatment 1m high. Hampshire Constabulary cannot support this application if the dwellings do not have this basic level of protection. The Mews is overlooked by House Type E+, with this design the active rooms (kitchen / lounge) that provide natural surveillance of the public realm are located on the first floor. Natural surveillance of the public realm from the overlooking dwellings is one of the design features that reduces the opportunities for crime and disorder. In this situation it is not possible to have natural surveillance of the ground level from the first floor, therefore, houses with this layout do not provide for natural surveillance of the public realm (this is contrary to the Quality Places, Supplementary Planning Document). This increases the opportunities for crime and disorder. To improve natural surveillance of The Mews some of the overlooking houses should have active rooms located on the ground floor. Access to the elevations of the apartment blocks from the public realm must be prevented. Apartment blocks must sit within an area of semi-private space, this space must be enclosed within a robust boundary treatment at least 1.2m high. Ground floor apartments with doors that can be accessed from the surrounding semi-private space must be protected by a private garden which is the sole preserve of the resident of the apartment with the doors that can be accessed from the space. The private garden must be at least 1.5m wide and enclosed within a robust boundary treatment at least 1.2m high. Windows on the ground floor must be defended by planting. Hampshire Constabulary cannot support this application if the dwellings do not have this basic level of protection. The development is very permeable such high levels of permeability will make policing the development difficult should incidents occur. A review of available research in this area concluded that: “Neighbourhood permeability… is one of the community level design features most reliably linked to crime rates, and the connection operate consistently in the same direction across studies: more permeability more crime.” Some of the connectivity runs to the rear of the dwellings, this significantly increases the opportunities for crime and disorder. Much of this connectivity appears to be linked to communal rear garden access footpaths. In our opinion the design of this connectivity is not consistent with Eastleigh Borough Adopted Local Plan, Policy, DM1. Hampshire Constabulary cannot support the application with such connectivity. A number of acquisitive crimes such as burglary and theft are often facilitated by easy access to the rear of the dwelling. For a number of dwellings rear garden is via a communal rear access footpath, this increases the opportunities for crime and disorder. To reduce the opportunities for crime and disorder external rear garden access should be in curtilage. If the Local Planning Authority is minded to consent to a scheme with such rear garden access arrangements, to provide some measure of mitigation we would ask that all rear garden access gates are fitted with a key operated lock that operates from both sides of the gate. The lock should be designed for exterior use. Additionally at the public entrance to the rear access footpath a gate should be fitted. There are a number of areas of Public Open Space (POS) throughout the development. An area of POS is shown to the rear of a number of dwellings (landscape plan area 5, near tree marked W1f#). There is very little natural surveillance from the nearby dwellings of: the footpath connectivity nor this area of POS itself. Seating is provided within the POS which will encourage people to loiter within the POS. All of these attributes significantly increase the opportunities for crime and disorder. This space appears to be a piece of left over land, such places make poor areas of POS which often suffer with anti-social behaviour. Without a major redesign of this area of the development it is difficult to see what could be done to significantly reduce the opportunities for crime and disorder. Paragraph 92 of the NPPF advises: 92. Planning policies and decisions should aim to achieve healthy, inclusive and safe places which: (a) promote social interaction, including opportunities for meetings between people who might not otherwise come into contact with each other – for example through mixed-use developments, strong neighbourhood centres, street layouts that allow for easy pedestrian and cycle connections within and between neighbourhoods, and active street frontages; (b) are safe and accessible, so that crime and disorder, and the fear of crime, do not undermine the quality of life or community cohesion – for example through the use of attractive, well-designed, clear and legible pedestrian and cycle routes, and high quality public space, which encourage the active and continual use of public areas; In our opinion design of this area of the development does not provide a safe place nor safe pedestrian connection and it does not conform with the adopted Local Plan, Policy, DM1. In this situation Hampshire Constabulary cannot support this area of the planning application and we recommend that this area of POS space is removed from the approved scheme and the pedestrian connectivity removed from the rear of the dwellings. A number of potential pedestrian / cycle access points are shown giving access to area about Telegraph Heights and Westgate Mews. The proposed access routes appear to run to the rear of the existing dwellings. Such connectivity is unsafe, in our opinion is contrary to the guidance of the NPPF and Local Plan, Policy DM1. These access routes will change the existing roads from cul-de-sacs into leaky cul-de-sacs. Secured by Design advises: “Cul-de-sacs that connect by footpaths to other parts of a development, often referred to as ‘leaky cul-de-sacs’, experience the highest levels of crime when compared to crime levels within a true cul-de-sac. Crime in this kind of design can be 110% higher than crime in a true cul-de-sac and therefore should be avoided.” The requirement for this pedestrian / cycle connectivity should be reconsidered and if required it should be redesigned so that it is safe for users and does not undermine the safety of the existing neighbourhood. | Dwellings off from the public realm areas have a dedicated semi-private area that features low level planting. Access from the rear of private garden space has a minimum boundary height of 1.8m. Mews houses omitted. Seperation distances have increased on the revised scheme, no issues of overlooking from primary living spaces. Apartment blocks have a perimeter landscaped buffer between the public realm and building. Individual apartments are accessed via a secure indoor lobby with fobbed access. The scheme is permeable to improve connectivity with the woodland and amenity spaces, the balance of which will need to be determined by the LPA. Connectivity runs to the rear of properties now removed. POS to the rear of properties now designed out of the current scheme.

## DESIGN REVIEW PANEL 29112022
Design Review Panel 29/11/2022
Character Area | DRP feedback | Response (Calderpeel Architects)
Entrance (fan Space & Ramp) | This is a very theatrical and fun gesture which would provide a far better entrance and approach into the stadium than that at present. There is great potential for a vibrant and exciting space on match days and events. However, thought as to how this space would appear and work on non-event days needs to be given. Also, how will the space present itself when approached from both the car park and from Botley Road. Should the ramp be visible from the street or something that reveals itself through the trees? Thought as to how the public space beneath, and the ramp itself, is lit is also required. Such a strong form needs to be well lit with a considered architectural lighting scheme. However, there will need to be some sensitivities towards ecological impact, such as upon bats. | Due to the financial viability of the previous proposals the spectator ramp and fan shop have been omitted. This is of a direct result of the current construction costs. The intention is to eventually phase the spectator ramp back into the masterplan over time thus the current scheme has sensitivily been designed to accommodate the ramp in the future.
New Hotel | The location of the hotel is considered to be far more appropriate than that seen at the pre-application stage, being more connected to the existing hotel and car park, as well as the proposed stadium entrance ramp, whilst also providing a transition between the main hotel car park and the green countryside and golf course to the other side. The kink in the building’s footprint, whilst a result of the need to adhere to planning boundaries, actually works and provides more architectural interest than were the building straight. There was no objection to the general scale or form of the building, or to the intended simple brick finish, but it was considered more thought as to how the ends of the building are dealt with is required. This is particularly relevant to the end which faces the existing hotel and its strong curved form. How can the two buildings be made to better relate to each other and ensure the space between is comfortable. This hotel will be the first structure visible from the matchday car park. As such it is important to ensure that it provides a design standard, including landscaping, appropriate for the high-profile nature of the stadium. | Following a redesign of the character area 1 spectator car park has led to a the pedestrian access now running alongside the northern gable elevation of the proposed hotel. In order to create more interest to this prominent gable we've taken the opportunity to open the water course at this point to provide a mini fan zone
Pavilion | No significant issues in relation to the pavilion were highlighted. It is a simple structure which reflects the character of earlier stands around the stadium and makes good use of the dual aspects/views towards the main and nursery grounds, providing a link between the two which currently does not exist. More details in relation to the intended materials and roof finish is required, as the top of the roof will be visible from the opposite side of the stadium. As will the underside from the nursery ground. | No comment required.
Care Home | This was considered to be the least convincing of the various elements put forward. Firstly, it was questioned whether this is the best location within the wider stadium site for such a use, and whether a nursing home was the most appropriate type of development to be positioned next to a stadium which holds large scale sports events and open-air concerts. Notwithstanding the nature of the use, concerns were expressed in relation to the design and architectural treatment of the building, which has a very commercial/office appearance and feel, which seems to be counter to the domestic nature of the building and its occupiers. The design feels far less developed than the other proposals and the level of detail in the drawings (particularly the elevations) was insufficient for a detailed planning application. Whilst large floor to ceiling windows do provide good views, are these views which someone who will spend much of their time in their room want to see all the time, and would they feel too exposed to the outside world. Whilst views towards the adjacent woods would be attractive, views towards the road would be less so. The reference made to the large glazing of the current hotel rooms was noted, but this is a very different scenario to that of a care home where residents should feel comfortable and protected. Architecturally, the building has a very different feel and character to the remainder of the proposed developments. Whilst the reference to wishing to reflect the form and framing of the adjacent stadium was noted, this design language was not considered to be the most appropriate for the intended use and should be reconsidered. Other areas to further consider are how the spaces around the building would be used and feel. The landscaping of these spaces needs to be considered as part of the building’s overall design, not as an afterthought. Whilst views towards the landscaped gardens envisaged would be very attractive, how easily can residents with mobility issues access steeply terraced gardens. And how can these gardens be made secure without resorting to fencing, which would appear oppressive and unattractive when viewed from the publically accessible woodland beyond. | The previous design and current design features the floor to ceiling windows set back from the primary elevation. Deeper balconies serve the purpose on limiting views into the care home rooms, the redesign has led to the secondary cladding system (now constructed in brick) adding a layer of seclusion to the private balconies and rooms. Architecturally the external appearance we feel now ties into the well-being & hotel design with the use of a buff brick, aluminium cladding and brick details.
Well-being Centre | This is a prominent ‘gateway’ building into the wider development. Whilst the functional requirements of the building have strongly influenced its form, it is nonetheless a simple and quite elegant structure which has obviously been given a great deal of thought in terms of its architectural treatment. It was noted that further thought as to how external spaces around the building would be used, by whom and for what purposes is required but was also seen as a potential opportunity to reflect the idea of the ‘protective wall’ which is expressed in the residential element of scheme and throughout the wider development. | No comment required.
Residential | Housing: The initial concept of a continuous wall enclosing blocks and “decaying” towards the woodland edge had an organic feel which had the potential to transition and address the change of character between the stadium and adjacent woodland. However, this has been lost in the more worked up housing layout, where dwellings are far more regimented and linear in nature. How the development abuts the woodland edge is rather harsh and inconsistent between fronts and rears. This is a shame and loses the promise of the concept sketch. The idea of a continuous wall, the nature of which changes depending on whether it adjoins a building or forms a boundary, being more open in places and closed/solid in others is a simple yet quite bold idea that has the potential to create a unique and original development. However, great care needs to be taken to ensure that the need to meet building regulation requirements, etc. does not adversely impact the resulting design. Equally, design details need to be approved and conditioned to ensure the ideas are not watered down or ‘value-engineered’ to a point where the concept is lost. There was no issue with the architectural style proposed, indeed a more contemporary approach was welcomed and seen to be more appropriate to the context of the stadium than a ‘traditional’ approach would be. However, it was considered that it would be a more successful scheme if some of the more organic forms of the conceptual layout were to be brought back into the design. Apartments: The use of apartment blocks to address the landscaped area between the stadium and residential quarter was considered to be the right response to dealing with the very differing scales of the stadium and housing beyond. However, it was considered that the orientation of the blocks – being predominantly north and south facing – resulted in a number of issues which need to be addressed. Firstly, it was not felt to provide enough enclosure to the landscaped public area. Instead, the space bleeds out through the gaps between the blocks and in some cases has pushed parking areas up against what should be a well landscaped and attractive public space between the residential quarter and stadium. This orientation also results in the spaces between blocks being generally overshadowed, unwelcoming and would not provide the best outlook for the apartments. This orientation and the single aspect of most units also results in half the apartments getting no sunlight and the other half too much. The design of the apartments was also felt to be less successful, lacking the interest and detail provided in the housing units and would benefit from remodelling in conjunction with reorientation of the units. It was therefore suggested that turning the blocks through 90 degrees should be looked at as an option, this could create a more formal ‘crescent’, responding to the curved form of the stadium. This would provide better enclosure to the landscaped space, would lessen the visual height of the blocks, allow parking areas to be placed between or behind the blocks, and allow all units to be either east or west facing so they would receive sunlight and have a far better outlook. | Housing: Changes made in direct response to urban designer comments regarding mews street seperation distances, housing backing onto the woodland etc.. The redesign introduces the original concept of 'the wall' that fragments towards the woodland following the ecology 20m offset. This has provided the opportunity for the houses to organically wind towards the woodland edge. No changes have been made or 'value engineered' in the amended scheme. Apartments: Orientation of apartment blocks rotated to be north - south. Parking spaces now located to the western edge of the blocks, allowing a continuous public open space. Through rotating the blocks has created more spaces between them, addressing the overshadowing comment and with apartment living spaces being located to the southern elevation provides more sunlight into each apartment. The apartments now feature a series of pitched roofs which we feel addresses concerns of the apartment blocks now having the same level of detail and interest to that of the houses. The introduction of the same material palette helps tie it into the rest of the residential site.

## URBAN DESIGNER
Urban & Landscape Design comments 13/11/2022
Character Area | Urban Designer comments | Response (Calderpeel Architects) | Response (Johns Associates)
Entrance (fan Space, ramp & car parking) | • The parking design should be landscape-led, responding to the character of the place; it should be well integrated, with good landscape treatment and avoid a public realm dominated by cars and hard standing. • Large car parks need to maximise opportunities to conserve and enhance local green infrastructure. • Furthermore, the car park only has one route in and out for vehicles which would result in a high intensification of use at this point, likely resulting in traffic queuing onto the main road – Botley Road, with implications on the local highway network at busy times and consequently into the wider area. Traffic modelling is required to demonstrate how the car park can work and not lead to traffic congestion. | The introduction of permeable surfaces throughout the car park area will improve the visual amenity on both non-match and match days. There's a series of tree planting areas in and around the car park that has been incorporated with the belt of existing mature trees on site. | The use of permeable surfaces for the overspill car park area in conjunction with new planting will provide good visual amenity when not being used on match / events days. In conjunction with existing retained tree groups / woodland, combined with areas of new native woodland structure planting, the proposed car park areas would be well integrated within the existing and proposed landscape framework.
New Hotel | There are no objections in principle to moving the hotel to this location. Whilst I differ to separate comments from the Ecology and Landscape Officers regarding the impact of the building on the lake, the new siting of the building, particularly the rotation away from the existing woodland seems to improve the visitor arrival experience for those approaching the site from the pedestrian boulevard across the overflow car park. Nevertheless, new development needs to be sensitively related to the scale and massing of neighbouring development and spaces and more information would need to be submitted to properly assess it. A site-wide cross section to clarify how the proposed height and massing relate to the surrounding context and to ensure that the proposed building integrates well with existing buildings (Hilton Hotel and Stadium) and open areas. Furthermore, it would be encouraged to produce a CGI from the spiral ramp area to show the visual impact of the proposed Hotel from the main pedestrian access. Ground floor plan shows rooms facing directly to the car park. It is not possible to understand from the information submitted how the building connects with the ground and the levels of the immediate surrounding area. It is essential that fully detailed information of the lighting, materiality and general design of this covered area is provided. | Site wide cross sections have already been provided to assess the appropriate scale of any new development. The coloured hotel elevation illustrates how the scale of the proposed hotel sits next to the existing hilton hotel. Ground floor hotel rooms are seperated from the car parking and pedestrian footpaths from a series of landscaped areas that abut the proposed building. | Refer to CA response
Pavilion | There are no objections in principle to the location of the new pavilion and maintenance area. However, it would be interesting to understand how the architectural language of proposed building was informed by the design elements of the existing stadium. This does not necessarily mean that the surrounding building should be mimicked - although that would be another possible approach - but the design response should relate to its material texture. For example, the stadium is a unique building with a steel structure that might suggest a design response in terms of material language. | Mimicking the existing stadium is something we've always intended to avoid as we feel by adding more likeness to the current stadium will only over clutter the stadiums context. The architectural language has derived through analysing the stadiums tectonic structures yet providing a more soft palette of materials that complement the adjacent lightweight structures.
Care Home | The proposed building is for elderly independent living and whilst there is scope for development in this part of the site, as it is within the urban edge, the residential use proposed does not comply with Policy WE4 which states that residential development should be solely located on the north west corner of the site, so that it does not affect the setting of the wider site and connects directly to the existing settlement to avoid car use dependency. The following comments are made on the assumption that suitable justification can be made for a departure from planning policy. Residents in older people’s accommodation, as well as others in some sheltered accommodation, are also generally much less mobile than the general population and many may rarely, if ever, leave the premises. For these reasons the amount and quality of the available usable external space for those residents is at a premium. The design should celebrate its location with a landscape led approach. The level changes across this part of the site are challenging and careful consideration will be needed to integrate the building successfully in its wider context whilst providing high quality and accessible private amenity space for future occupants. View 05 – to the Southern Gateway shows a building satisfactorily softened and screened, however, as the site slopes down towards the golf course its visual impact from other viewpoints such as the southern pedestrian access/ Fan Zone should be demonstrated. This corner end of building sits on a higher level supported by a retaining wall and is four storeys high making no concession to reducing its potential visual prominence. Also, the requested CGI above would help to better understand the design of the public realm proposed along the Southern Gateway, in terms of landscape, materials and wayfinding. The use of green roofs is welcomed to help control water at source. Given the form and shape of the proposed building, it is also acknowledged that some of the rooms are exclusively facing north with views towards the stadium which is not considered to be the most pleasant of the outlooks. | The scheme is a landscape led approach. For the reasons stated below: - The proposed building wraps around the existing contours and connects at first floor to rear gardens - Each room has its own external terrace - We have provided a private roof terrace to the NW corner of the building that has the potential to accommodate allotments and any other outdoor events/uses. - Apartment from a limited number of north facing rooms the majority of rooms face to open landscape or woodland - The landscaped rear gardens has full level access We've provided a elevation-section that illustrates a view towards the south elevation of the care home with the existing tree heights and levels. This demonstrates the building is nestled into the belt of mature trees. | Typical sections have been provided (Calderpeel). External access to gardens has been reviewed. The existing monkey puzzle tree would be removed and replaced with new specimen trees creating a more useable external space / interface to the care home.
Well-being Centre | There are no objections in principle to the Well-being building location and its design seems to be acceptable. An alternative location should be explored for the play area with a greater natural surveillance and well-integrated within the residential area and its designated open space. I would recommend taking the proposal to the Design Review Panel where their design advice helps to promote good design and is an essential part of the planning process. | Play area moved further towards the residential part of character area 5. The LEAP is 400 sq.m. | An alternative location for the play area to the east of the residential area (Character Area 5) has been provided. This preferred location would provide good natural surveillance and be well-integrated within the proposed open space.
Residential | The green open space proposed between the residential development and the stadium works as a buffer for these very different functions as well as contributing to the transition in scale. This area forms an important part of the concept and, if successfully design and delivered, would add value to the sequence of public open spaces and pedestrian movement within the scheme. As it stands, it is considered that the space is dominated by car park designated for the apartment blocks. Furthermore, there will be different demands on site, which could create a constant conflict between vehicles, pedestrians and activities. It is easily predicted that on match days the open space allocated for residents will be ‘flooded’ by spectators. It is considered that the open space is too fractured and consequently less flexible to use. More adequate open space should be provided in a cohesive way. The overall aim is to create a residential area where buildings and spaces form an attractive and high-quality public realm. A significant amount of public space should be provided within this area to serve future residents whilst ensuring that the space is not unduly affected by users of the stadium. Also, the proposed layout shows an informal open space with seating areas enclosed by rear gardens facing the woodland. This is not acceptable due to lack of surveillance, and it is a missed opportunity to consider orientating dwellings directly onto the public space creating a greater sense of place providing a clear distinction between private and public space. The lack of a clear and attractive cycle and pedestrian route direct from the development to the surrounding area is also a concerning omission. It would be encouraged to produce a CGI to show how these links would look like. The height of the apartment blocks is a concern and is likely to have an unacceptable and detrimental visual impact from distant views. The large block sizes are bulky and are currently located on a higher ground level to the stadium which exaggerates their prominence. The roof access shown on the elevations has a detrimental impact on the overall height of the buildings, therefore being considered that its location on the rooftop should be avoided or, as a last resort, sensitively integrated within the roof profile. In addition, as the site slopes down towards the stadium, it would be more appropriate to propose a cascade roofline effect between buildings. The level changes on site should be reflected on the proposed heights of the buildings. Every opportunity to reduce height should be explored. All residential car parking should be well integrated, with good landscape treatment, overlooked and accessible for all. Wide crossing points are needed from this area to the Stadium, ideally on raised tables to provide level walking routes on pedestrian desire lines. Ensure that pavements take priority across all junctions. Additional trees are required in parking courts in accordance with the Quality Places SPD. EVCP are required and should be designed into the scheme now. | Car parking previously within the landcape buffer zone now moved to the western edge of apartments within the residential parcel. There is no conflict in how the space is used, the public open space has been designed in such a way that dedicates each area to its intended function. The basin, LEAP area and continuous open space all serve a clear purpose). We've discussed at length with the hampshire county cricket club the match day activity and how the flow of spectators arriving to the bowl will have dedicated areas to gather, purpose built to control the flow of spectators to avoid gather in the public open space provided for the residents. The public open space has increased after the 20m ecology SINC buffer being added and dwellings now face onto the open space and woodland. The apartments now feature a series of pitched roofs to tie into the residential feel of the site. Roof gardens and lift towers have been removed. EVCP points will be provided, especially as this is now apart of the building regulations under Part O approved document. | The revised layout creates a more coherent and well defined open space area providing an effective landscaped setting to the proposed residential area and accommodating proposed play provision, informal recreation, access, drainage and structural landscape.
The revised layout accommodates a 20m wide buffer zone between the southern edge of the residential development and the edge of Telegraph Woods (SINC). This zone provides an opportunity to provide an effective landscape buffer zone here with new native tree and woodland planting, providing visual amenity and ecological benefits as well as informal recreation opportunities.
Residential car parking areas / drives have been carefully integrated within the design to provide opportunities for new tree planting / landscaping where possible, and to ensure that private / communal parking areas are suitably overlooked and accessible.

## ECOLOGY
Ecologist Comments | Johns Associates Response
EASTLEIGH BOROUGH COUNCIL
Inappropriate ground levels, land slip/ ground instability and drainage issues due to site levels | Levels have been revisited in order to ease gradients across the site.
At a recent site visit it was noted that the site levels vary greatly with tall embankments along the northern and western boundaries. Along the residential areas this would result in either very steeply sloping or terraced gardens, potential land slip and potential drainage issues. The gardens of houses in area F would be in a very steeply sloping area. What safety measures are proposed to keep the soil in place and away from the tree line at this boundary? Soil erosion due to steep gradients will affect any vegetation in this area as well as the root protection zones of trees where soil could either erode away or add onto the existing levels. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Gardens to House types F & F+ have now been split into two levels in order to ease the gradient towards the boundary edge.
The tree line at the site boundary would be subject to increased shading from the development and any fencing/enclosure. There is inadequate retention of a suitable wildlife habitat corridor around the perimeter of the site. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. The development has receded from ther site perimeter including 20m buffer to Telegraph Woods in most locations.
Long sections through the plans are required to show the site levels and how the development proposes to deal with this. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Sections across the site have been provided by the Calderpeel.
There is a large bund on the north-western boundary. The landscape plan refers to strategic/structural landscape zones in this area. More details are required. Given the large level changes in this area what is being done to keep soil from affecting the shared path? | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. See landscape comments for more details.
What measures are proposed to keep the soil in place along the Telegraph Woods SINC boundary? Landslips into Telegraph Woods could block the watercourse culvert, and cause damage to trees and ground flora. Sedimentation from eroded soil entering the watercourse can cause additional problems for aquatic organisms and the ecology of downstream areas. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received.
The landscape plan for area 5 refers to a retaining structure to access road. More details are required for construction to avoid impacts and sedimentation in this ecologically sensitive area where Telegraph Brook leaves Telegraph Woods. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received.
Due to past permissions, the Telegraph Brook watercourse is now buried very deeply below the made ground around the Ageas Bowl. This makes de-culverting the watercourse much less feasible. We strongly encourage the applicant to re-assess whether there is any scope to reduce ground levels across the site in the vicinity of the culverted watercourse with an aim to restore the natural watercourse partially or in full. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Architect or Landscape Architect input needed here. Also see Hydrologist. Historic culverts wil not be modified/declulverted as this has been previously explored (pre 2012) and proven to result in greater impact. A new open channel leading away from Telegraph Woods, new wetland areas, retained/enhanced existing channel by the residential area and rehabilitated channel leading to the lakes/car park is proposed.
Excessive habitat loss and explanation of biodiversity net gain calculations is not sufficient
We do not see how this scheme delivers a biodiversity net gain, let alone a 37% net gain as stated. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. A new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed.
The EcIA appendix B UK Habitat Classification Survey Technical Note provides maps of the UK Hab areas before and after the proposed development. The biodiversity net gain calculations state that there will be a positive 37.14% total net increase in habitat units and a 114.48% total net increase of hedgerow units. Table 4.3 states that 0.416 km (1.03 units) of other rivers and streams is lost and table 4.6 states that 0.171 km (0.43 units) of other rivers and streams are created. The summary, section 5 states that there is a negative - 35.20% total net loss in river units. Where is this loss? This is not acceptable. EBC has an anti-culverting policy (within DM6). | There is no loss of exitsing watercourses. The existing culverted wastercourse will not be disturbed. Its current downstream length will be enhanced within the residential area and rehabilitated where the artifical resection./realigned sleeper channel is located. In addition, a new section of open channel is proposed, togethehr with wetland areas. A small section of new culvert is proposed. - but this does not arise from culverting an existing channel.
Domestic gardens cannot be included in the biodiversity net gain calculations as once a homeowner has taken possession of the property, they can change the vegetation or remove it completely. It would be helpful to have a map just showing the areas where habitat would increase. Although I can see the hedgerows on the plan, they do not appear to be continuous linear features so their usefulness as wildlife habitat may be limited. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. A new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed.
Westwood Copse in the north-western corner of the site near the entrance, is currently an area of deciduous woodland containing mature sweet chestnut trees and hazel coppice stools. This was confirmed on a site visit on 4/10/2022, LM, SB, and CS). On the UKHab map (ref J00765-004, 11/2/2022) it is shown as part of a larger parcel of woodland classified as w1h6, other woodland mixed, mainly conifer. Table 4.1 Baseline Habitats lists this as being in poor condition, but I think this needs to be re-assessed, with the copse and woodland along the northern boundary assessed separately from the conifers around the existing parking area to the north of the site access road. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. This area is now retained within the new masterplan/layout. Notwithstanding this, a new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed.
The proposed UKHabs plan shows a significant area of this woodland is proposed to be removed to accommodate the development. The established woodland along the perimeter of the site has ecological value, it is not just a series of individual trees. It contains mature trees, a shrub layer, a well-developed understorey, and soil with structure, associated microbes and fungi. It should be enhanced rather than removed. Woodland habitat loss is unacceptable. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. This area is now retained within the new masterplan/layout. Notwithstanding this, a new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed.
Landscaping and landscape management must provide more benefit for wildlife
Landscape management must allow fruit and seeds to stay on the hedgerow plants (clipped hedges with wildlife value) to provide year-round food for wildlife, with pruning to be done on a three-year rotation alternating each side and then the top, or 1/3 of the hedgerow each year. Plants for pollinators are specified, but if they are not managed for pollinators and seed/berry production their wildlife value will be greatly reduced. The planting to swales, attenuation ponds and stream edge must be increased along edges of the re-aligned channel to the north of the site and the pool and lakes near the proposed hotel and car park. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. These measures will be incorporated into the site LEMP. NB these may be challenged by tBird Strike Risk Assessment requirements from BAA Southampton.
Lack of suitable buffer zone to adjacent Telegraph Woods
We need to see a plan showing the exact location of the woodland canopy edge with a 20-metre buffer zone free from any development from the woodland canopy edge to the development. The buffer zone must not include domestic gardens, fences, and paved paths. For example, Landscape Plan Area 5 sheet 5 of 6 shows that the proposed shared drive/pedestrian access, the footpath, some of the residential gardens labelled A and B, and the turning area in the road are very close to the woodland boundary. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. A 20 m buffer is provided in almost all parts of the scheme - only two small sections of mino residential road falls within the buffer. Landscape architect to provide more details.
There are currently very steep slopes at edges of the site boundary with Telegraph Woods SINC. The site is raised much higher than the SINC for most of this boundary. The stability of these slopes is uncertain, but intensive development of this area could result in land slips towards the SINC. How is this slope proposed to be stabilised? The slope would be shaded by the woodland edge making it difficult to establish vegetation to stabilise the soil. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received.
The proposal would cause a deterioration in the condition of the adjacent Telegraph Woods SINC through increased footfall through Telegraph Woods SINC
The SINC is designated for pasture woodland and wooded commons, and areas of heathland which are afforested or have succeeded to woodland but retain significant remnants of heathland vegetation which would enable their recovery.
Rachel Hardy, the manager of the Countryside Team, has informed Ecology that there has been good progress with heathland restoration in the SINC but also problems with fires and vandalism.
Although there are existing paths through the SINC, the proposed addition of the southern Fan Zone would attract more visitors to use the footpaths in this area to access the Ageas Bowl from the west via Telegraph Woods rather than the more northern entrances off Botley Road. This can cause congestion on the footpaths. People tend to walk around the paths through the woodland if they are too crowded or muddy. This will impact negatively on the flora and fauna of the woodland through increased disturbance, trampling, and increased nutrients from dog waste.
Although several documents mention that increased recreational opportunities would be provided on site, there is no single document which describes the recreation locations provided. The increase in residential development would put more recreational pressure on the SINC. No current recreational usage data has been provided but from our site visit it was clear that dog walkers are currently using the SINC and some of the current site. With this site being further developed and no longer available to dog walkers, there would be an increase in the number of dog walkers using the SINC and a resulting increase in nutrients from dog waste. It is also likely to result in the creation of informal BMX tracks and jumps, clearings, den building, rope swings and other recreational activities in the woodland. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. The site plan now features annotations that demonstrate the dedicated recreational areas, spliting into an area of LEAP and POS etc..
Proposed SANG in Telegraph Woods SINC
The proposed SANG is outside the red line boundary and no additional information has been proposed other than an indicative 2.5 km walk. No baseline ecological surveys have been done in the woodland, so it is not possible to assess what the impact of the development would be. Baseline surveys of Telegraph Woods are required. | This proposal is no longer being considered. Instead, appropriate payment will be made into the EBC strategic recreational impact offset / SANG fund
The SANG would be public open space in terms of land use. This might require a change of use application. Telegraph Woods is owned by the Provost and Scholars of the Queens College in the University of Oxford. It is leased to Eastleigh Borough Council. | See above
There is no data on the current use of this area by the public. How much discounting is needed or how much additional capacity exists? The Bracknell Forest method can be used to calculate this. | See above
Is this area going to be attractive for people walking dogs, especially in winter? It is a closed woodland and there is a history of anti-social behaviour on site. Would the visitor experience include a variety of habitats? | See above
How would an increase in visitor numbers be managed to ensure no negative impacts on the habitats of the SINC? | See above
Insufficient green infrastructure
The proposed development would eliminate most of Westwood Copse, an area of woodland containing mature sweet chestnut trees and hazel coppice stools (nesting bird and bat habitat) replacing it with a coloured resin bound surface and parking spaces. This area is marked G28. Whilst some vegetation is retained, this corner will not function as a woodland/copse but becomes isolated groups of vegetation. Specimen trees spaced at regular intervals in amenity grassland are proposed to surround the existing vegetation along the northern fan zone and Marshall Drive. The additional lighting proposed in this area will also decrease its value as wildlife habitat. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Lighting wil be designed to avoid any increase in lighting beyond existing levels.
Trees T 18 and T39, which have high bat roost potential, and T38 which has low bat roost potential, are located in this area. This section must be re-designed/re-located to preserve Westwood Copse and trees T18 and T39 | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Thhese trees are now being retained. Lighting wil be designed to avoid any increase in lighting beyond existing levels.
Opportunities for well-connected blue-green infrastructure need to be maximised and strengthened along the entire perimeter of the site in line with Local Plan Policies DM1 and DM11. Links between this application site and the wider landscape are needed to allow the expansion of habitat for protected species such as foraging bats, nesting birds and dormice, which are found in the connected southern portion of the wider site. The existing perimeter vegetation corridor must be enhanced, widened, and connected with other landscape features rather than removed and replaced with un-connected new plantings. The SuDS features (ponds, swales, and streams) should be enlarged and linked to habitat areas such as perimeter vegetation and woodland buffer zones. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received.
This can be demonstrated in a blue-green infrastructure master plan.
Habitat for protected species
Bat surveys were done in 2020 and updated in 2021. There were potential bat roost features on two buildings (Greenkeepers Cottages and the Wellness Centre), but no evidence of bats during surveys. Twenty trees were assessed as having potential bat roost suitability and the possibility of being affected by these proposals. Any changes to the layout that could affect tree retention or decreased distance from development would require re-assessment. T8 (low suitability), T18 (high suitability), T38 (low suitability) and T39 (high suitability) have viable PRF and are located within the development footprint. It is likely that the design can be adapted to enable the retention of trees T8, T38 and T39. Further consideration of the feasibility of retaining T18 will be given. If T18 cannot be retained, further surveys will be required in 2022 prior to determination of the planning application for the Mixed-Use Development. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. These trees are now being retained. Lighting wil be designed to avoid any increase in lighting beyond existing levels.
The greatest areas of bat activity were areas of broadleaved woodland, scrub, tall ruderal habitats and areas of standing water. These areas must be retained and enhanced as important green infrastructure for this site. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. These trees are now being retained. Lighting wil be designed to avoid any increase in lighting beyond existing levels. A new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed. Enhancement of these areas of habitat from a biodiversity conservation perswpective will be included in the LEMP.
The lighting around the parking areas also attracted foraging bats due to insect availability in these areas. | Lighting wil be designed to avoid any increase in lighting beyond existing levels.
A wildlife sensitive lighting strategy is required to avoid illuminating any trees and potential bat roost features. All on-site lighting should be assessed so that it does not attract bats away from suitable natural foraging areas and into areas where they would be more vulnerable to predators. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. Lighting wil be designed to avoid any increase in lighting beyond existing levels. A plan showing areas where no lighting increase beyond exitsing levels) will be provided, ensuring these sensitive habitats do not experience any increase in lighting, and whgere4 possible lighting levels will be reduced.
Section 3.8 on page 25 of the Bat Technical Note has several notes that say Error! Reference source not found. This should be edited. | This will be edited.
The report states that it is likely this site lies within a core sustenance zone for common pipistrelle and noctule maternity roosts. Landscaping must include a wide range of night flowering species to attract moths as food for bats. It should be designed to flower over the longest possible season so that food is available over the entire bat activity season. Noctule bats also eat midges, beetles, mayflies and winged ants, so enhanced habitat such as woodland edge, scrub and tall ruderal vegetation should be incorporated into the landscaping to provide habitat for these invertebrates where bats can forage for them. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received. These trees are now being retained. A new BNG assessment based on update condition surveys, revised site boundary, new landscape plans and Defra Metric 4 is proposed. Enhancement of these areas of habitat from a biodiversity conservation perswpective will be included in the LEMP.
Dormice were confirmed present in 2016/2017 on land to the far south of the wider site, associated with Thorneydown Farm. Habitat has been managed to minimise impact and enhance habitat in previous applications on the wider site. Dormice (or their signs) were not found in the northern part of the wider site (this application site) in nest tube surveys conducted in 2019, 2020 and 2021. There is poor connectivity between this application site and the wider landscape. Dormice are assumed absent on this application site, but if they were present historically, any existing potential habitat must be protected and a precautionary working method used. The links between this application site and the wider landscape must be increased to allow the expansion of habitat of protected species such as dormice. | This advice will be followed and incorproated i.e. any existing potential dormouse habitat will be protected and a precautionary working method used. The links between this application site and the wider landscape will be increased to allow the expansion of habitat of protected species such as dormice..
Habitat suitability for great crested newts was assessed for all waterbodies at or within 500 m of the site, which includes the Ageas Bowl and Boundary Lakes Golf Club. Six ponds were within the golf course and one in the north of Telegraph Woods. Six of the ponds were found to have average habitat suitability, and one was below average. These seven were sampled for great crested newt eDNA, and all the tests returned a negative result. Therefore, great crested newts are presumed likely absent from this site. The nearest known record of great crested newts is 2.6 km to the south of the site. | No further action required.
Reptile surveys were conducted in 2020, repeating surveys done in 2007 and 2017. Slow worms were recorded in 2007 in retained habitat around the perimeter of the site and in newly created habitat in the Ageas Bowl and golf course refurbishment works. In 2020 suitable reptile habitat for foraging, basking and hibernating reptiles was recorded on site. The text at the bottom of page 3 of the Reptile Survey Technical Report states that No reptiles were observed at any time during the surveys (1-6) carried out during May to early July 2020. However as reported in table 3, slow worms were found under refugia, and one slow worm was seen on a walking transect on visits 7-13 all during September 2020. This represents a low population of slow worms. Since common lizards were recorded on previous surveys it should be assumed that they are also present. Any suitable reptile habitat must be retained and enhanced. | A suitable reptile method statement including sequential and directional management of vegetation towards either retained habitat (if large enough) or capture/translocation from smaller areas using reptile fencing/artificial refugia) will be integrated into the CEMP and implemented by a suitably qualified ecologists. Any retained suitable reptile habitat will be enhanced.
The site has been surveyed for badgers since 2007. There is an active main badger sett in a woodland copse near the southern central part of the Boundary Lakes Golf Club and two outlier setts within Telegraph Woods. An artificial sett was created for a previous planning application. Very limited badger activity or evidence is present within other parts of the site, including the masterplan area proposed for re-development as part of this planning application. Due to the potential presence of badgers commuting through the site, if this application is approved, additional surveys will be required until the commencement of works and precautionary working methods for badgers are required.
limited badger activity or evidence is present within other parts of the site, including the masterplan area proposed for re-development as part of this planning application. Due to the potential presence of badgers commuting through the site, if this application is approved, additional surveys will be required until the commencement of works and precautionary working methods for badgers are required. | Additional surveys will be continued until completion of works, with precuationary metrhods being implemented.
Increased enhancement provision required
As recommended in the letter from Hampshire Swifts (October 2022) nest boxes on buildings should be integral swift brick types, as these are permanent, require no maintenance, have better temperature regulation with future climate change in mind, and are aesthetically integrated with the design of the development. Swift bricks are a universal nest brick as they are readily used not just by Swifts but also by House Sparrows, Starlings (provided the entrance is large enough), Great Tits, Blue Tits and other species. The British Standard BS 42021:2022 Integral nest boxes recommend at least 1 integral nest brick per dwelling, from four to 10 on a small block of flats and 10 to 40 or more on a large building, such as a hotel etc. | These features will be incorproated into buildings.
Surface water drainage issues
Local plan policy DM 6 states New development (excluding extensions to dwellings and changes of use) will only be permitted if it incorporates Sustainable Drainage Systems (SuDS). Wherever feasible, naturalised filtration should be included within the treatment train as follows: | Landscape Architect - Hydrologist input required here.
On sites of 1 hectare or more, or within 100m of the River Itchen SAC or Solent Maritime SAC, SuDS schemes should include at least three forms of naturalised filtration.
It is not clear that there are 3 forms of naturalised above ground filtration for all of the surface water drainage from each area of the site. It must be clearly demonstrated how the proposals adhere to policy DM6 for the surface water drainage of the entire site.
Statement 2.9 of the Flood Risk Assessment report states that Surface water conveyance routes under exceedance conditions must also be planned for to ensure that life and property over the site and surrounding area are not put at risk in the event of drainage system failure or from storms in excess of the design standards. | Landscape Architect - Hydrologist input required here.
The main culverted channel of Telegraph stream which runs under the Ageas Bowl has been blocked for some time, which has caused flooding and damage to the trees in Telegraph Woods SINC. This culvert is 6.8 m beneath ground level at its deepest point. Reliance on just one channel with no alternative routes for the water to follow could cause similar problems in the future. This highlights the vulnerability of this SuDS proposal. Local Plan policies DM3, DM5 and DM6 have been cited in 2.13 to 2.16. What would ensure that this blockage does not re-occur? EBC’s policy DM6 requires de-culverting wherever possible. This reduces the potential for blockages whilst providing ecological benefits. | Landscape Architect - Hydrologist input required here.
The channel proposed to be realigned is the lower section of Telegraph Brook. It is currently confined to a channel lined with wooden sleepers and drains into the ponds in the golf course in the south-eastern area of the site. This is proposed to be moved to accommodate additional car parking. It should be enhanced with vegetation along the banks to have a more naturalised appearance and function as a wildlife corridor rather than as shown on the landscape plan with straight edges and no vegetation. | Landscape Architect - Hydrologist input required here.
The section of Telegraph Brook passing along the northern boundary of the site is reported to be an open semi-natural watercourse in a simple trapezoidal channel aligned with (should read lined with) trees and hedges. The outlet of the culvert was down a very steep bank and not visible due to dense vegetation at the time of the site visit. How will the landscaping be managed along this stream/ditch to avoid sedimentation and pollution and to maximise its ecological value? The attenuation pond, swales and basin will be part of an informal recreation area. In addition to the ecological diversity, what planting is proposed in this area to keep it safe (not used for swimming dogs and people) and unpolluted? How are these areas linked into the blue-green infrastructure of the site? | Landscape Architect - Hydrologist input required here.
The proposed development section 3.9 of the FRA should be updated to reflect the current proposals. | Not relevant to EcIA
The water in Telegraph Brook is discharged into a tributary of Pudbrook Lake, under the M27 and eventually into the River Hamble.
The upper lake and lower lake shown in Figure 3.5 are due to be re-shaped by the construction of the budget hotel and enlarged car parks. If this proposal is approved, a CEMP will be required to include stringent pollution control measures to prevent sediment from construction from entering the lakes, the stream and from moving further downstream.
The drainage channel shown to the north of the sleeper lined section of Telegraph Brook runs along the southern edge of the northernmost vegetation and continues along the boundary with Botley Road, crossing under the site entrance to the east of Marshall Drive and the current footpath entrance, and then continues towards the M27. This needs to be shown in figure 3.5 but is discussed in section 3.43 of the FRA. This drainage channel is needs to be shown in the landscape plan for this area and would be affected by the construction of parking zones 2, 2B and 3, the resurfaced path from the existing Botley Road site access, and the relocated PRoW Route 241:509 as shown on landscape plan Area 1 (East) sheet 2 of 6 (issue 09, June 2022). This must also be considered in the CEMP. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
The swale/basin, basin and attenuation pond shown to the east of the proposed residential areas are proposed to feed into the existing ditch (Telegraph Brook exiting from the deeply buried culvert) along the boundary with the David Lloyd Tennis Centre. Levels would be an issue here also. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
The Landscape Plan of area 5 (west) sheet 5 of 6 shows the realigned culverted section of Telegraph Brook running under the street and then under the proposed shared drive/pedestrian access. As this culvert is reported to be 6.8 m deep, the digging required to re-align it would be substantial, with the potential to add sediment to Telegraph Brook. The CEMP must contain specific details to avoid pollution in this area. A dog-leg in the new alignment could increase potential to block. As previously mentioned, de-culverting this stretch of watercourse must be re-visited. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
Section 3.58 of the FRA report states Based on the soakaway testing completed in the adjacent scheme, it is reasonable to conclude that an infiltration-led surface water drainage solution would not be viable for the proposed development of the site. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
In Section 3.60 it states that there is a 150 mm diameter surface water sewer… at the junction of Westgate Mews and Kenilworth Gardens draining NW along this road but it is not clear whether this is proposed to be used in this scheme. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
Section 5.15 Drainage and Infrastructure Flooding states that there is no requirement for specific flood mitigation measures for the management of the identified risks. Given the current situation of the blocked main culverted channel of Telegraph Stream backing up and causing flooding in Telegraph Woods SINC, there is still a risk of drainage and infrastructure flooding which must be addressed. The risks of flooding to the properties around this site in case of future blockages must also be assessed. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
Section 6.15 mentions the possibility of discharge of surface water to a surface water/combined sewer. The use of combined sewers increases the risk of untreated sewage discharges into rivers, streams and the sea in times of heavy rainfall. This causes pollution incidents, has a detrimental effect on water quality, and must not be allowed to occur. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
On the recent site visit it was noted that the existing ponds and channelised stream to the north of the existing parking area at the north of the site lack any emergent vegetation and appear to be largely devoid of life. A planting plan for the ponds and stream is required. They also seem quite small if they are designed to attenuate all of the water from the site and the existing flow from Telegraph Brook. Since the Telegraph Brook culvert has been blocked for quite a long time, the accuracy of predicting the existing flow rates would be compromised. This would also affect the predictions of flow rates through the culvert, ditch and ponds and then of- site discharge rates. | Landscape Architect - Hydrologist input required here.
Section 7.8 states An existing and presumably blocked culvert is being removed and replaced with a re-aligned culvert and open section of channel in the western part of the site and a more natural two stage channel in the eastern part of the site. This will improve the watercourse and increase in- channel flood storage capacity. The proposed development has been laid out to enable access and maintenance of the re-aligned culvert and open section of channel. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
Further details are required on how access and maintenance of a re-aligned culvert would be achieved.
The discharge of surface water off site is proposed to go under the M27 and into a stream that feeds into a stream designated EA main river (which is a tributary of the River Hamble) when it crosses under Tollbar Way and through the Waterloo Industrial Estate. | Landscape Architect - Hydrologist input required here. Not relevant to EcIA?
Combined effects on the local area
The addition of 185 dwellings, a 71-bedroom care home and a 142-bedroom hotel to an already developed site would be an over-development. The retained edge habitat would be impacted by this large increase in the number of people living at and regularly using the site.
The combined effects on the local wildlife areas such as Telegraph Woods SINC, Wildern LNR, Netley and Bursledon Commons, and Moorgreen Meadows must all be assessed in combination. This site is a potential link between biodiversity areas to the north and south along the M27 corridor. | This will be considered in more detail in the EcIA
Biodiversity corridors need to be strengthened rather than weakened. | Landscape Architect - input required here.
The addition of fan zones would also increase the size of the area impacted by people attending events at the Ageas Bowl, spreading them out on the site in areas that connect with the green infrastructure retained on the site boundaries. One of the neighbours commented that people were using their gardens as a toilet either before or after events. If these fan zones and car parks are to be implemented, they should also contain toilets to deter people who are waiting to enter the main facility from relieving themselves in other areas. | The scheme design has changed significantly since these comments and on site meeting/feedback has been received.
NATURAL ENGLAND
HRA
A shadow Habitats Regulations Assessment (sHRA) been produced by Johns Associates (May 2022) in support of this planning application.
Natural England notes that this sHRA has not been produced by your authority, but by the applicant. As competent authority, it is your responsibility to produce the HRA and be accountable for its conclusions. We provide the advice enclosed on the assumption that your authority intends to adopt this HRA to fulfil your duty as competent authority. | Response from Eastleigh Borough Council needed here
Mitigation
It is advised that SuDS features intended to help achieve nitrogen neutrality should be appropriately designed (along with suitable long term maintenance plans) in order to ascertain an accurate N removal that can be maintained over time. Monitoring their effectiveness over time will be key to allow for adaptive management. We recommend that such features are designed in line with the Wetland Mitigation Framework that has been recently published by the Constructed Wetlands Hub and the Rivers Trust. However it should be borne in mind that the level of certainty for N removal is highly dependent on influent concentrations, which in the context of treating surface water is likely to be variable, and this will need to be factored in.
The long term monitoring and maintenance of SuDS will be key to maintaining their optimal effectiveness in perpetuity. Further details are required to confirm the mitigation measure(s) proposed at this site, and quantify the reduction of N loss that may be achieved through each measure. | Response from Hydrologist needed here
The local planning authorities are the competent authorities with regard to the Habitat Regulations and must be assured and satisfied that any mitigation proposed can be secured and delivered in perpetuity. Any scheme for offsetting nitrogen must meet the basic tests of certainty of delivery, enforceability and the need for securing the adopted measures for perpetuity to ensure it is effective mitigation. | Response from Eastleigh Borough Council needed here
Recreational Disturbance - New Forest SAC, SPA and Ramsar
It is noted the applicant proposes to use land adjacent to the application site, Telegraph woods, as provision of a Suitable Alternative Natural Greenspace (SANG). The proposals for the site include a 2.5 km circular walk. Please note, the size of the proposed area requires clarification, noted as 20.27 ha on page 39 and 17 ha on page 39 of the sHRA. There is currently insufficient information to enable the certainty that the use of this SANG to provide mitigation will be effective in ensuring no likely significant effect arising from recreational impacts to the New Forest designated sites. | This proposal is no longer being considered. Instead, appropriate payment will be made into the EBC strategic recreational impact offset / SANG fund
A SANG Management Plan should be submitted laying out the SANG design and ongoing site management techniques, this document should include the capital costs for the site, and the costings and funding mechanism for the in-perpetuity management of the SANG. The Plan should clearly set out how the Natural England SANG Criteria will be met on the site and who the management will ultimately default to. Further information on any phasing of the development and how this relates to SANG development should be also be detailed. | As above. Management Plan not required.
Additionally, further assessment on the impacts of increased recreational pressure to Telegraph woods is required. As detailed within the Ecological Impact Assessment - Desk Study Technical Note produced by Johns Associates, Telegraph Woods is listed as a Site of Importance for Nature Conservation (SINC) containing pasture woodland and wooded commons of considerable biological and historical interest and is an afforested heathland site with remnants of heathland recovery areas. | As above.
In line with Policy WE4 of Eastleigh Borough Council’s Adopted Local plan 2016-2036, the development should demonstrate that there will be no adverse impact on the adjacent Telegraph Woods SINC, with appropriate environmental buffers from development. | To be addressed in EcIA
The developer will also need to secure mitigation for the in combination residual impacts. Mitigation for residual impacts can be through an agreed financial contribution e.g. the New Forest National Park Authority Habitat Mitigation Scheme. | Appropriate financial contributions to be made.
Recreational disturbance - Solent SPA
It is understood the applicant plans to mitigate recreation disturbance to the Solent SPA sites with provision of the proposed SANG. Please see comments above in relation to the proposed SANG. Should the applicant wish to contribute this agreed strategic scheme, provided that the applicant is complying with the policy and the Bird Aware Definitive Strategy, Natural England would be satisfied that the applicant has mitigated against the potential adverse effects of the development on the integrity of the European site(s). | SANG no longer part of the proposals for the site. Appropriate financial contributions to be made.
Further clarifications on the estimated contribution is required, the figure should take account for the proposed care home/independent living facility and hotel, in addition to the residential housing. | To be included in updated HRA
Biodiversity Net Gain
One method to ensure net gain is achieved is to compile a Biodiversity Mitigation and Enhancement Plan (BMEP) or similar document that aims to protect and improve the local ecology. This can help to strengthen ecological networks and wildlife corridors. Such a Plan can bring together specific avoidance, mitigation and any compensatory measures to address impacts on species and habitats, detail how biodiversity net gain will be achieved, plus detail additional enhancement measures for wildlife (such as bat and bird boxes, habitat refuges etc.). Such a plan should be agreed with the district ecologist / biodiversity officer and appropriately secured with any planning permission. | To be produced through Planning Condition
Surface Water Drainage
The detailed design of a Sustainable Drainage System (SuDS) should be submitted and agreed with Eastleigh Borough Council. This should include evidence to show that the proposed SuDS scheme will ensure there will be no deterioration in water quality [or changes in water quantity] in discharges from the site. Information on the long term management and maintenance (including funding) of the SuDS for the lifetime of the development should also be secured prior to the commencement of any works. | Not relevant to the EcIA - requires Hydrologist input
Construction Environmental Management Plan
Natural England advise best practice is employed during the construction phase to avoid impacts on the SINC. For example, a Construction Environmental Management Plan (CEMP) can be submitted to and approved in writing by the council’s ecologist/biodiversity officer that identifies the steps and procedures that will be implemented to avoid or mitigate constructional impacts on species and habitats. The CEMP should include the following impacts: • Storage of construction materials/chemicals and equipment; • Dust suppression • Chemical and/or fuel run-off from construction into nearby watercourse(s) • Waste disposal • Noise/visual/vibrational/lighting impacts The approved CEMP can be secured via an appropriately worded condition attached to any planning consent and shall be adhered to at all times, unless otherwise first agreed in writing with the Local Planning Authority. | To be produced through Planning Condition

## DRAINAGE
LLFA Comment | SE Response
We still have concerns with some of the orifice sizes. Where they are placed within or following permeable paving, smaller sizes can be accepted but those within the general pipe runs without pre-treatment should be changed to hydrobrakes. The ones of particular concern are within Character Area 5. | Appendix H, I and J of the updated FRA (July 2023) include the updated drainage startegy calculations, layout and catchment areas.
Additional calculations have been provided and these show the 1:30 ½ drain times to be within acceptable tolerances. Given that no flooding is expected at the 1:100 + climate change, this is acceptable. | Ok
Confirmation is required in relation to Character areas 2 and 3. These have been grouped together in the flood risk assessment with an overall storage requirement shown. However, these do not appear to be hydraulically connected on the drainage plans and no storage is shown for the pavilion. Evidence is needed to demonstrate that these proposals will not increase runoff at each individual location. | Appendix H, I and J of the updated FRA (July 2023) include the updated drainage startegy calculations, layout and catchment areas.
The water quality elements are not sufficient in a number of locations. While as LLFA we review against the simple index approach, we are aware that the local plan policy requires three naturalised treatment systems which are not evident. With the simple index approach, this has not been met for the following areas: Character area 4 – namely the northern most pipe run of this section which appears to be completely untreated Character area 5 – there appears to be long streatches which are untreated. Character area 2 / 3 does not include any treatment for the pavilion however if this is purely roof drainage then we would accept silt treatment only. | The updated FRA (July 2023) includes a section on water quality (Section 6). The LLFA require that water quality is assessed to satisfy the methodology in CIRIA SuDS Manual. In all of the assessed parameters and even without the inclusion of certain features, the total of the pollution mitigation indices far exceeds the total of the pollution hazard indices. The assessment of water quality based on the CIRIA SuDS Manual approach therefore demonstrates that an adequate level of mitigation would be provided for the potential polluting effects resulting from the proposed development of all land uses. The LPA also recommended that three forms of naturalised filtration should be included wherever feasible, either within or at the end of the treatment train. If permeable pavements are not to be included, then each land use would still have at least three forms of naturalised filtration either within the site or prior to water leaving the overall site, and in some cases more.
No pre / post development exceedance flow plans have been provided. Some narrative is included within the reports but plans are essential to show how water will flow in and around the development to ensure water is not directed to new locations. | Appendix K of the updated FRA (July 2023) includes pre- and post-development exceedance plans. Also Appendix F includes the original flood modelling report (January 2022) and an additional flood modelling report that assess the two-stage channel and the raised pedestrian walkway (July 2023). This demonstrates that the previous overtopping north-east across the car park has been removed.
There are also concerns with the current drainage proposals within Character area 5. Although requested previously, no exceedance flow plans have been provided and on plan D12 there is a low point identified with exceedance routing to be considered by others. This information will need to be provided to give sufficient certainty that minor level adjustment is achievable and to understand the potential impacts.
A new ditch is shown on sheet D11 adjacent to the new basins but more detail is required on the northern connectivity. Chamber S46 is directly adjacent but it is not clear where there is any connection or if the ditch just connects to the existing watercourse at the northern end. | Appendix H, I and J of the updated FRA (July 2023) include the updated drainage startegy calculations, layout and catchment areas.
The northern basin needs to be reviewed in terms of layout. The inlet and outlet are very close together and this is unlikely to be effective either hydraulically or from a water quality perspective. Refer to the SuDS Manual for additional guidance on basin design. | Appendix H, I and J of the updated FRA (July 2023) include the updated drainage startegy calculations, layout and catchment areas - with the layout drawing showing that the inlet and outlet have been amended.
We note that the modelling for the changes to the existing watercourse has been submitted to the Environment Agency for comment. Given that the development proposals restrict runoff to greenfield rates we have no specific comments however would highlight that the report states that bank raising of 0.3m plus freeboard may be required and no evidence has been provided on how this would be achievable within the current layout. As an ordinary watercourse, this will require submission for consent and it should be highlighted that hard engineered options for bank raising may not be permitted. It is recommended that approximate land use required for bank raising is indicated on the drawings at this stage. | Appendix F of the updated FRA (July 2023) includes the original flood modelling report (January 2022) and an additional flood modelling report that assess the two-stage channel and the raised pedestrian walkway (July 2023). This demonstrates that the existing overtopping that occurs from the watercourse and to the north-east across the car park would as a result be removed.

## LANDSCAPE
Character Area | Landscape Officer comments | Response (Johns Associates)
Entrance (fan Space, ramp & car parking) | Landscape Plan Area 1 West (sheet 1 of 6) a/ The layout in this area is generally acceptable and it is good to see the inclusion of seating in the Fan Zone, including the raised island planter that will double as an informal sitting wall. It might be worth considering increasing opportunities for informal seating by replacing the individual benches in this location with a continuous low sitting wall? This is likely to be a very busy area on match days. b/ The realigned channel has scope to be an attractive feature and we look forward to seeing further detail on this. c/ The parking bays at the western end of Parking Zone 28 are rather squeezed between the retained trees and new trees. Perhaps the bays at this end can be rearranged to run along the back edge of path, with the new trees planted between bays (as per the run of bays to the east). d/ Parking zone 1 should be softened with internal tree planting between bays. The Trees and Development SPD suggest 1 tree every 6 bays for large areas of parking. This may require a re-planning of this area. e/ The immediate setting for the budget hotel is rather hard and further design work is required here to ensure the setting is softened with additional planting. There is scope to reduce some path widths and perhaps re-shape the pond in front of the hotel to have a more natural profile, increasing opportunities for planting. The other option would be to replace the pond with an extension of the re-aligned channel thus creating an area of open space that could be developed as a focal planted area or gathering space. Some limited feature panels of living wall would be an attractive option to visually soften selected elevations of the hotel. f/ The circulation routes make sense with obvious desire lines incorporated into the layout. The range and types of surfacing are welcomed. It is good to see some variation in paving in the Fan Zone which will provide additional interest. g/ The retention of the majority of existing vegetation is supported, although in places this will require careful construction on site to avoid additional removals. The proposed structure tree planting is effective and in the majority of locations there is space for these to be canopy species. There is scope to replace the area of grass with native buffer/screen planting to the west of James Mills. This could be a clipped native mix hedge if preferred. Perhaps in fringe locations, some areas of amenity grassland could be replaced with long mown wildflower grass to reduce maintenance and to increase Biodiversity gain? | Due to the financial viability of the previous proposals, the spectator ramp, ‘Fan Zone’ and fan shop have now been omitted. The revised layout therefore retains the vast majority of existing trees and woodland vegetation to the east of Marshall Drive and to the rear of properties to the south of Botley Road with only very limited tree removal as identified on the drawings (refer to the AIA for details). New replacement trees and native woodland structure planting are proposed to offset the loss of existing trees identified for removal and help reinforce the existing landscape framework here. The existing Hilton Hotel car park and overspill parking zone are to be retained with some minor configuration as indicated. The existing drainage channel will be enhanced to create an attractive green corridor through this part of the site, forming part of the drainage strategy and providing opportunities for landscape and ecological enhancement. A new east-west footpath link is proposed to connect the proposed parking zones with the wider pedestrian network through the site.
New Hotel | The immediate setting for the budget hotel is rather hard and further design work is required here to ensure the setting is softened with additional planting. There is scope to reduce some path widths and perhaps re-shape the pond in front of the hotel to have a more natural profile, increasing opportunities for planting. The other option would be to replace the pond with an extension of the re-aligned channel thus creating an area of open space that could be developed as a focal planted area or gathering space. Some limited feature panels of living wall would be an attractive option to visually soften selected elevations of the hotel. | Additional planting has been introduced and paving adjusted to provide a suitable setting for the hotel and to provide good pedestrian access and circulation in this nodal / arrival space.
Site Access | The proposed access from Botley Road for the event overflow parking will not only lead to significant congestion along Botley Road, but there are also potential safety issues for pedestrians crossing the new access road. Also, since vehicles will be manoeuvring along relatively loosely defined access routes, there are a number of crossing points where pedestrians could be in danger. | Refer to Highways comments (WSP).
Overspill / Event Parking | Landscape Plan Area 1 East (sheet 2 of 6) a/ This area lies within the Gap so special attention is required to ensure the protection and enhancement of the Gap. b/ Parking zones 2 & 3 are presently devoid of any tree planting. Please include some radial tree planting between bays not only to provide shade to parked vehicles but also to increase Green Infrastructure in the Gap. c/ Further thought is required regarding the pedestrian route that crosses these parking areas. There is currently insufficient protection for pedestrians using this path which raises safety concerns for fans due to vehicles crossing the path to access parking spaces. This path should be tree lined to create an attractive arrivals avenue and I support the idea that a sculpture is indicated to terminate the main vista down this path into the site. d/ The triangular pool in front of the hotel seems out of keeping with the form of the adjacent lakes that have a more natural profile/shape. Perhaps this pool should have a less geometric shape with a more natural character? As mentioned before, the other option is to omit this lake and use the space to create a focal landscaped space, including planting to soften the area? e/ Can the route of the diverted PROW be adjusted as below to avoid a pinch-point in the planting? The revised route should be outside RPA's. This would allow an increase in native tree & shrub planting to improve the setting of the path. | The proposed overspill car park area would create a generous landscaped zone with new tree planting as a setting to the new hotel and stadium complex using reinforced grass and sown with a suitable flowering lawn mix. It is considered this approach would contribute positively to the Strategic Gap function and relate well to the Boundary Lakes Golf Course landscape to the south. Re provision of radial pattern of tree planting to parking zones 2 & 3 - this area is only likely to be used for main events throughout the year and the design intent is to avoid a traditional car park landscape / structure here and avoid the use of formal tree avenues. Rather, the intention is to create a more open 'parkland' landscape character with framed views and informal tree planting arrangement when not in use and the area managed as a flowering lawn. This is seen as a positive approach to preserve the sense of openness to this part of the Strategic Gap when not in use as events parking (ie throughout most of the year). Minor realignment of the PROW has been designed to create an attractive and legible route through this part of the site. The realigned route would be outside RPA areas.
Care Home | The location of the new Care Home presents a multitude of challenges with regards external levels. The building occupies an elevated position in relation to areas to the north and east of the site, and as a result extensive retaining walls will be required. To the rear the sloping ground necessitates significant stretches of retaining walls, terraces and banks. Further work is required to demonstrate how the levels can be successfully handled, especially to the north of the building where space is tight. A number of typical crosssectionswould be useful. Some areas, particularly to the rear of the building, would appear to provide limited access for elderly residents due to changes in level and there is relatively little usable amenity space. Some locations for benches appear random and should be reviewed. | Typical sections have been provided (Calderpeel).
| The retention of the Monkey Puzzle tree as a focal point will be challenging and will require considerable on-site attention to be successful. This would only really be worthwhile if it is a Grade A specimen. Impact on retained vegetation needs to be carefully reviewed. It appears that a section of G54 will be removed to enable construction of the road, path and retaining wall? | The retention of the Monkey Puzzle tree has been reviewed in light of comments from the Tree Officer and it has been agreed with the design team that the removal of the existing Monkey Puzzle tree (Category B tree) would provide better opportunities to create more useable open space for Care Home residents and to provide more opportunities to introduce a range of native tree species that are better integrated with the proposed care home within its landscape setting. A small section of tree group G54 would need to be removed to accommodate the new access and parking arrangement. The AIA confirms that this group can be successfully retained the the loss of a small section as identified. G54 is a linear group of trees with Holly, Oak and Ash with some Ash dieback. Targeted tree management and enhancement is recommended here.
| Either end of the building comes close to Telegraph Woods which is far from ideal. The impact of the notional woodland walk on the Woods would need to be assessed and further native buffer planting to protect the edge of the Woodland is required. The arrangement of tree planting to the rear of the building is unconvincing and needs to be re-visited. Perhaps there is scope for orchard planting and some canopy trees are needed along the edge of the Woods to ensure successional growth. | Additional native buffer / tree planting to Telegraph Woods associated with the Care Home gardens / woodland walk has been included.
Residential Area | a/ This is the area of housing and in my view (as stated under general comments above) the density of development is too high. This results in the external realm being dominated by drives, parking and pedestrian circulation leaving limited areas for robust, deliverable Green Infrastructure (GI). In places the roads and paths come very close to the boundaries, a particular concern adjacent to Telegraph Woods. Opportunities for new native planting to protect and bolster the edge along the Woods are few and a wider buffer strip would be preferred. | The proposed residential development area to the west of the stadium has been completely redesigned - please refer to the latest proposals. The revised layout seeks to minimise potential effects on the adjoining Telegraph Woods SINC to the south through the provision of a 20m landscaped buffer zone to minimise potential effects on this important landscape feature. The proposed houses along the southern edge of the development have been reoriented to positively address Telegraph Woods. The apartment blocks have been redesigned to remove flat roofs and to relate more strongly to the housing architecture. In addition, the arrangement of the proposed apartment units and associated parking provision have been reconfigured to create a more coherent POS landscape buffer zone to the east of the proposed residential area, incorporating play provision, SuDs, access, opportunities for landscape and ecological enhancement and informal recreation. New structural landscape includes street trees where space permits throughout, formal hedges to enclose apartment parking courts, a landscaped buffer zone to the south and west with new tree and native woodland planting and managed wildflower grassland areas and a landscaped buffer zone to the east associated with the proposed POS areas as described above. The redesigned layout has largely ‘designed out’ the need for retaining walls / structures. Informal access into Telegraph Woods to the south shown previously has been omitted.
b/ Street tree planting is a primary aspiration and with the layout being squeezed there are definitely concerns that the tree planting indicated cannot be delivered. In too many locations the space along frontages is very limited with new trees far too close to houses. In some locations trees are shown less than 2m from buildings. This would prevent even a small tree being planted. The layout needs to be revisited to create realistic space for street tree planting. Please ensure that the tree planting will not be adversely affected by utilities or lighting columns as we will not accept omissions further down the line due to on-site conflicts. All tree planting shown on planning drawings must be deliverable.
c/ I am not clear what is meant by 'walled gardens' and the concept behind this proposal? Tree planting in rear gardens is welcomed but cannot be relied on to provide long-term GI as it can easily be removed by future residents. Is there some way of providing legal protection to ensure the long-term retention of these trees? d/ There is limited usable amenity space on site and the area below is enclosed by rear gardens and woodland and due to lack of surveillance is not acceptable.
e/ The proposed number of units in the blocks of apartments necessitates significant numbers of parking bays that erode the area of open space between the apartments and the stadium. This is regrettable and it would be good to see a reduction in parking spaces and a subsequent increase in open space.
f/ Levels present a challenge in some areas and a number of cross-sections should be provided to help understand the proposals and to assess possible adverse impacts. Some sections are required across the linear open space between the apartments and the stadium so we can assess the feasibility of proposals here, especially the balancing basins. Please indicate on plan all retaining walls. Wherever possible retaining walls should be below 600mm high to avoid the need for safety railings which add visual clutter to the scene.

## POLICY F
Planning Policy comments 06/02/2023, 24/02/2023, and 22/05/2023
Character Area | Planning Policy comments | Response (Boyer Planning)
New Hotel | Criterion 1e. in policy WE4 requires a sequential test to be undertaken to demonstrate that there are no suitable, available and viable sites in city, town or district centres for hotel, leisure and office uses. A sequential test has not been completed and the Planning Statement states that it is considered superfluous due to the hotel’s association with the Ageas Bowl. National guidance recognises that certain town centre uses may have a particular market and locational requirements. To demonstrate this, robust justification is required to show that the hotel will primarily serve the Ageas Bowl. We would request further detail on the trading of the existing hotel (covering more than one year) and the impact of the additional hotel to establish if a sequential assessment is required in this case. Updated Comments - 24th February 2023 I’ve looked through the information provided on the trading and occupancy levels of the existing hotel and how this relates to cricket matches. I am satisfied that this demonstrates the association of the hotel with the Ageas Bowl and, as the proposed hotel is designed to complement this, a sequential assessment is not required. | Officers accept that a sequential assessment is not required and therefore the location of the proposed hotel is suitable.
Care Home | While there is general support for the provision of a care home on the site, the application does not provide justification for its location outside the area identified for residential uses. This proposal is therefore contrary to policy WE4. Updated Comments - 22nd May 2023 The Planning Policy objection to application F/22/93194 (dated 6/2/2023) stated that the Care Home was contrary to policy as it did not provide justification for its location outside the area identified for residential uses. The Care Homes Needs Survey does not address the location of the proposed Care Home. The survey does not therefore change the Planning Policy comments on this application. | Our position, as set out further within our formal response to the policy officer dated 14/08/23, is that there is a strategic need for care home accommodation within the borough, and that the Council are unable to demonstrate a five-year housing land supply and have a shortfall in the delivery of care bed provision to meet the Council's calclulated need for older person's accommodation. The proposed care home will provide 71 bed spaces in a sustainable urban location and therefore we consider that the requirements of Policy DM25 are met in full, and the provision of the care home should be supported accordingly.
Residential | The residential development remains contrary to policy WE4. This is due to the impact of infrastructure and car parking on the character of the area and the lack of public open space to serve the residential development. We would also support detailed comments submitted by colleagues in Urban Design and Landscape which highlight a lack of amenity space, the extent and impact of car parking and question the feasibility of the proposed street trees. Residential development is specifically addressed in criterion 1d.ii of policy WE4. This criterion covers the location of residential uses; access to/from West End; and layout and design to ensure an appropriate level of residential amenity. The policy identifies an area in the north west corner where any residential development should be solely located. The supporting text to policy WE4 in paragraph 6.5.56 explains that this is ‘so that it does not affect the setting of the wider site and connects directly to the existing settlement’. The supporting text also states the potential for impacts on residential amenity and the requirement that any residential development should not compromise the existing function of the Ageas Bowl. Access to/from residential area The criterion in 1d.ii relating to the access to/from West End is designed to deliver a direct pedestrian/cyclist route to West End and ensure the new residential development is integrated with existing residential communities. Ideally this would be through the redevelopment of the Pitters site to the north of the residential development. It is recognised that the Pitters site is not currently available for development. However the design retains the potential to deliver vehicle, cycle and pedestrian access if this becomes available in the future. The pre-application response advised that the proposed route through the edge of Telegraph Woods would need to be provided in a way that ensures no adverse impact on the woodland while being designed to create a safe and attractive route. It must be sufficiently wide with appropriate grading, have an all-weather surface and some form of lighting to provide a useable alternative to residents accessing the development via Marshall Drive. The proposed routes shown to the north west include an upgraded pedestrian only link to West End centre through the edge of Telegraph Woods to the west of Royal Heights and a possible cyclist/pedestrian link to the east of Royal Heights (in addition to the possible future vehicle, cycle and pedestrian link through the Pitters site if it becomes available). Further information is required on the proposed links to demonstrate that they are deliverable and would create safe and attractive routes delivering the requirements above or alternatively provide justification if these requirements are not achievable. This should also demonstrate no adverse impact on the Telegraph Woods SINC, taking into account their likely use to access both the proposed residential development and visitors on match days and event days. Further information should be provided on the design and deliverability of the possible link identified to the east of Royal Heights. | The area for car parking which was previously located within the landscape buffer zone has now been relocated to the western edge of the apartments within the residential parcel, and therefore the impact of car parking on the character of the area is reduced. In regard to residential amenity, the proposed layout incorporates a substantial landscape buffer which is considered to protect the setting of the existing stadium. In addition, acoustic surveys have been undertaken to establish the likely range and intensity of noise, as related to events at the stadium. The survey concludes that, subject to the incorporation of industry-standard mitigation measures, the proposed new development would achieve a good standard of amenity. On this basis, we consider that this technical information justifies a slightly greater extent of residential development than envisaged by Policy WE4. The public open space has been designed in such a way that dedicates each area to its intended function, and the provision of public open space has increased thorugh the provision of the 20m ecology offset buffer and the proposed dwellings will now face onto the area of open space and Telegraph Woods. In summary, 2000 Sq.m of continuous open space is provided alongside an additional 435 sq.m LEAP area which is located approximately 25m from any residential building. The provision of 12,280 sq.m of public open space exceeds the requirement for circa 10,500 Sq.m. All but seven dwellings will meet the private outdoor space standards of 60% of the total GIA. However, these seven dwellings are within 10% of the 60% target and within 100m from outdoor amenity space. The dwellings fall below the threshold due to the introduction of the SINC ecology 20m offset. Discussions have taken place with Hampshire County cricket club to fully understand the match day activity and how the flow of spectators arriving to the Ageas Bowl will have dedicated areas to gather, purpose built to control the flow of spectators to avoid gather in the public open space provided for the residents. The revised layout seeks to minimise potential effects on the adjoining Telegraph Woods SINC to the south through the provision of a 20m landscaped buffer zone to minimise potential effects on this important landscape feature. The proposed houses along the southern edge of the development have been reoriented to positively address Telegraph Woods. The informal access into Telegraph Woods to the south shown previously has now been omitted to further reduce impacts on the SINC. The intention is to better define an existing route through Telegraph Woods to provide a more legible but informal link through to Telegraph Road as shown on the submitted drawing J00828-MP-009 FOOTPATH LINK TO TELEGRAPH RD_07_2023-06-23. The route would be surfaced with a suitable material such as bark mulch or gravel and timber edged to create a more defined route along with waymarking. Part of this existing route is surfaced with gravel and there’s a kissing gate at the junction with Telegraph Road. Therefore, the impact of the proposals on the Telegraph Woods SNIC will be minimal. We anticipate this could be addressed through an appropriately worded condition, and/or schedules in the s106 agreement.