Marina Drive Hamble -Le- Rice

Planning  and heritage statement

Author of report -Alan Cotterill

Date 12-2-26

Introduction

Berkeley Homes built the  above development approx. 25 years ago . The works included building 14no houses along with parking . There were some road improvement works involving making the entrance to Marina Drive wider . This was carried out by demolishing dilapidated  brick retaining wall and constructing new log retaining wall with wall pushed back slightly to create  easier vehicular access on marina Drive / Satchell Lane junction

Below extract from original construction drawing. Log retaining wall highlighted in red

Proposed remedial works to estate roads

We are proposing to carry out remedial works to the estate roads following consultation with the estate management team and the residents . We have produced a detailed scope of works for road and drainage defects . We are currently  obtaining quotations from sub-contractors to carry out the remedial works  and will be placing orders shortly . Part of the defects works is to replace  log retaining wall . We believe  the replacement wall will require planning permission.

Please note there is a separate planning application to carry out some tree works in the same area . The application submitted by the residents .

Below drawing showing existing and proposed elevation (The replacement  wall is approx. 22m long )

Below defects identified

Description of work that requires planning permission

Replacement of log retaining wall  on one side of Marina Drive with timber sleepers and steel posts . The log retaining wall needs replacing due to  age approx. 30years old .  Refer to photos of existing log retaining wall

Image below  showing photo of proposed railway sleeper/steel retaining wall

Location plan of development Berkeley Homes built approx. 25 years

Below site plan of development . The proposed sleeper wall highlighted in green .

Below photos of existing log retaining wall

Photo 1

Photo 2

Photo 3

Photo 4