| THEO SIMS-HARRIS ARENA OFFICE, GROSVENOR HOUSE BASING VIEW BASINGSTOKE RG21 4HG | Application | DC/25/99595 |
| --- | --- | --- |
|  | Please ask for | Gregg Chapman |
|  | Direct dial | 023 8068 8236 |
|  | Email | gregg.chapman@eastleigh.gov.uk |
| 24th April 2026 |  |  |

Dear Mr Sims-Harris

Town and Country Planning Act 1990

Planning (Listed Buildings and Conservation Areas) Act 1990

In pursuance of their powers under the above Act and in accordance with your application received on 23 June 2025 and made valid on 24 June 2025, the Council, as Local Planning Authority hereby confirm the status of the following conditions in respect of:

| Application No: | DC/25/99595 |
| --- | --- |
| Description: | Discharge of Conditions 10 (Noise), Condition 11 (Dust Assessment and Mitigation), 13&14 (Tree Protection and Arboriculture Method Statement), 15 (Levels), Condition 16 (Pedestrian Link Construction Detail), Condition 17 (Invasive Plant Assessment), Condition 18 (Habitat Enhancement and Management), Condition 19 (Lighting), Condition 20 (Remediation), Conditions 23 and 24 (Foul and Surface Water Drainage), Condition 25 (Noise Mitigation) and Condition 31 (Acoustic Barriers) of Outline Planning Permission O/18/82750 (Outline application for the demolition of existing buildings and erection of 23 employment units (up to 5,905 sq.m.) with units 12-20 for Use Class B1 (b) and (c) and units 1-11 and 21-23 for Use Class B2, with associated car parking and access. Detailed matters considered: Access and layout) approved March 2021. |
| Site: | Land at Netley Firs, Kanes Hill, SOUTHAMPTON, SO19 6AJ |

| Condition | Details | Compliance and Date |
| --- | --- | --- |
| 10 (Noise) | Prior to the commencement of any demolition or construction operations (including piling) on the site a detailed assessment of the noise and vibration impacts arising from these operations and a scheme of measures for the mitigation of these impacts shall have been submitted to and approved in writing by the Local Planning Authority. The demolition and construction phase of the approved development shall be carried out only in strict accordance with the approved mitigation scheme, and the implementation of the measures set out there in shall be verified by the submission to and approval in writing by the Local Planning Authority of a verification report of such implementation. Reason: To minimise the effect of noise and vibration pollution on human health and amenity and on the natural environment. Documents Submitted; - Clarke Saunders report reference AS14422.260126.CNVIA dated 20 February 2026 - Clarke Saunders - Construction Noise Monitoring Proposals | Approved 24/04/2026 |

Where information has been submitted to discharge a condition, any approval given is subject to compliance with the approved details.

Yours faithfully

Nicholas Parker

Planning Manager