F/26/101217 – Meller House, Oakbank Road, Bishopstoke, SO50 6HF.

Context.

This building looks typical of the style of building HCC was producing for this sector of the      population in the 1970’s.  In spite of being a relatively large building it has a domestic air about it and a pleasant outlook for the residents.  The front boundary consists of a mellow brick wall with semi-circular brick copings rising in increments from about a metre at the corner of Oakbank Road and Church Road up to about 2.5 metres at the northern end on Church Road.

This wall is a significant urban feature here in the conservation area, returning along Oakbank Road by some six and a half metres.  From the history of the site included in the application one can see that it was formerly a walled garden, including greenhouses built against the northern wall, which would necessitate the high wall.

The Oakbank Road frontage has a pleasant outlook over the green to the site of the remains of the original St. Mary’s Church and the listed Itchen House on the other side.  Other heritage assets in the locality include The Old Rectory noted on the constraints map and three locally made lamp-posts in Oakbank Road, one of which is close to the site entrance, that we wish to retain in place undamaged.

The Proposal.

The application is to change the building from 21 residential units to 15, including new

over-hanging eaves with recovered roof in Cedral Thrutone slates or equivalent, revised

fenestration and truncating the central projecting wing on the Church Road frontage.

As I said in comments on the 2025 application the finished wall to the truncated front wing

needs to be as is with the first floor overhanging the ground floor to match the side,

otherwise it will look very odd.  As this is one of the very visible public facades in a conservation area, it is important to retain and have continuity of the architectural language of this building.

Again the information provided is wrong on the drawings.  There are two drawing No’s KC02A EL A. the first elevations prior to work with elevations B and G wrong in not showing the overhang to the front and north elevations with the second version showing the ‘existing elevations part retrospective’ showing the same deficiency in elevations B and l.  In addition to these drawing KC05A PPEL A has elevations B, E and l all wrong plus incorrect annotation of the wall finishes on elevation B.

The new overhanging eaves, although a modification to the architectural language of this

building, will have continuity as it is all the way round and fit in more with the surrounding

buildings while alleviating a possible design weakness and completed with a dark grey

slate effect roof which will be entirely in keeping with the building and present a useful

refresh.

Conclusion.

In principle no problem but the detail of the central projection treatment on the Church

Road elevation needs to be correctly shown on the drawings and built to match.

Holding Objection.

29.05.2026.

Tim J S Dyer, B.Sc.,Dip.Arch.(Birm), Grad.Dip.Conservation(AA), RIBA. Built Heritage Consultant.