## BATHROOM SCHEDULE
SANITARYWARE (BATHROOM, EN-SUITE & CLOAKROOM) GUIDE
MAIN BATHROOM | [13 empty] | CLOAK
BATH | BATH PANEL | BATH TAP | BATH WASTE | BATH SCREEN/CURTAIN | RISER SET | SHOWER VALVE | BASIN + PEDESTAL | BASIN TAP | BASIN WASTE | PAN + CISTERN | FLUSH PLATE | SEAT | TOWEL RAIL | PAN + CISTERN | SEAT | FLUSH PLATE | BASIN + PEDESTAL | WHEN A CORNER BASIN+PED'S REQ'D | BASIN TAP | BASIN WASTE | TOWEL RAIL
PLOT 245 SALES SUITE
|  | N/A | [15 empty] | N/A |  |  | N/A
Ideal Standard bath Plain Tempo Arc - E256301 | Roper Rhodes – Hampton 170cm panel white - DC5003F | PART OF THE BATH FILLER | Idealfill Bath Filler, Overflow and Clicker Waste - E1487AA | Roman embrace Single Bath Screen - EB13S | Ideal rain M3 shower kit with 3 func 100mm shower handspray, 600mm rail & 1.35m hose - B9416AA | Concept Easybox Slim built-in thermostatic BSM with round faceplate - A5879AA | C.AIR BSN 50X36 WLG&MWH UNIT 1 DRW - E0817PS + E029601 | Ideal Standard CERAFLEX BASIN MIXER - B1812AA | Ideal Standard 1 1/4" LUX BSN CLICKR PLUG WASTE SLOTTED - S8803AA | Ideal Standard Tesi BTW pan + vitra cistern - T353501 + 761-1740-01UK | VITRA SIRIUS FLUSH PLATE CHROME - 740-0480 | Ideal Standard Tesi slim toilet seat and cover, slow close - T352701 | White straight Myson Avonmore + all chrome 1x straight TRV + 1x straight L/S | Ideal Standard Tesi BTW pan + vitra cistern - T353501 + 761-1740-01UK | Ideal Standard Tesi slim toilet seat and cover, slow close - T352701 | VITRA SIRIUS FLUSH PLATE CHROME - 740-0480 | NAB DEC W/H CLRM WHBSN UNT LH DRIFT AND BASIN - C22622 + C22615 | N/A | Ideal Standard CERAFLEX BASIN MIXER - B1812AA | Ideal Standard 1 1/4" LUX BSN CLICKR PLUG WASTE SLOTTED - S8803AA | RADIATOR