Flood risk statement

This statement is to identify the flood risk of the additional rainwater and the height of the DPC level of the proposed side extension that is being proposed at 4 Heathlands Road Chandlers Ford.

The proposed side extension is being built across the majority of the side wall of the property and extends out at a maximum of 3.69m to increase add an additional bedroom and increase the size of the existing downstairs toilet to include a shower for the owners mother.

The new roof will be a mono pitch design with a new gutter leading to the waterbed feature that was installed to prevent any flooding. The new roof area is 23.5m² so will increase the amount of rainwater being collected, however the garage roof being lost is 14.4m² therefore the total increase in roof area is approximately 9m².

The DPC level of the new extension will match that of the existing structure and therefore the flood risk stays the same in that respect.

I have attached the flood risk map obtained from the government website showing that the property is within a flood risk 3 zone.