| MR CHRIS MOORE 33 MARGARET STREET LONDON W1G 0JD | Application | DC/24/96884 |
| --- | --- | --- |
|  | Please ask for | Rebecca Altman |
|  | Direct dial | 023 8068 8266 |
|  | Working hours | Tues 9am-3pm; Wed-Fri 9am-5pm |
|  | Email | rebecca.altman@eastleigh.gov.uk |
| Thursday 2 May 2024 |  |  |

Dear Sir/Madam

Town and Country Planning Act 1990

Planning (Listed Buildings and Conservation Areas) Act 1990

In pursuance of their powers under the above Act and in accordance with your application received on 14 February 2024 and made valid on 15 February 2024, the Council, as Local Planning Authority hereby confirm the status of the following conditions in respect of:

| Application No: | DC/24/96884 |
| --- | --- |
| Description: | Discharge of Conditions 21 (Drainage maintenance), 24 (part) (Noise mitigation), 27 (Plant and machinery noise), 28 (Plant and equipment air quality), 31 (part) (Contamination verification), of planning permission ref. F/20/87841. |
| Site: | EASTLEIGH RAIL WORKS, CAMPBELL ROAD, EASTLEIGH, SO50 5AD |

This letter relates to Conditions 24, 27 and 28 only.  Condition 21 was discharged on 19/04/2024 and Condition 31 remains under review.

| Condition | Details | Compliance and Date |
| --- | --- | --- |
| 24 – Noise Mitigation and Management Plan | - Noise Mitigation and Management Plan (RSK Acoustics, ref. 2061902-RSK-RP-001-(01), 23 June 2023). Whilst the submitted document refers to Plots 300, 303 and 305 along with Units 200 and 205, the detail relating to Plots 300, 303 and 305 is not considered sufficient at this stage. It is recommended that the Noise Mitigation Scheme is reviewed / updated for these Plots when the occupants and their activities are known. | PART Discharged 02/05/2024 Units 200 and 205 only |
| 27 – Plant and Machinery Noise | - Fixed Plant Noise Assessment (RSK Acoustics ref. 2061902-RSK-RP-002-(01), 26 June 2023) – For Units 200, 205 and 210. The details relate to the proposed installation of 2 x air condenser units to the rear of the Units. Should there be any future change to the equipment required for the Units, an updated Noise Assessment would need to be submitted. | PART Discharged 02/05/2024 Units 200, 205 and 210 only. |
| 28 – Plant and Machinery Air Quality | - Letter dated 28 June 2023, RSK Acoustics, ref. 2061902-RSKA-LT-001-(01). The details relate to the proposed installation of the 2 x air condenser units. Should there be any future change to the equipment required for the Units, updated Air Quality details would need to be submitted. | PART Discharged Units 200, 205 and 210 only. |

Yours faithfully

Nicholas Parker

Planning Manager