F/24/97033 – Badnam Cottage, High Street, Bursledon, SO31 8DJ.

02.06.2024. Response to amended drawings dated 29.05.2024. – The

steeper pitched roof gives an improved balance between wall and roof in

elevation, in-spite of taking it right up to the volume limit, with the chimney

taking it just over. The framework over the balcony suggests the possibility of

future infill and therefore conflict with the 25% rule. I suggest a condition to

prevent this together with natural slate roofing, otherwise no objection.

Context.

Badnam Cottage lies toward the western end of zone 7 of the Old Bursledon

Conservation Area opposite The Vine public house and the eastern side of

The Dolphin’s garden which is a listed building.  Other listed buildings close

by are The Old Cottage two doors to the east and Walnut Tree Cottage to the

west of The Dolphin, the other side of Salterns Lane.

By virtue of both the topography and mature vegetation, neither Badnam

Cottage nor the property to its west are currently visible from the

road even by Street View and that to the east only the roof across The Old

Cottage’s garden.  The gardens of these properties is about two metres

above the road level and they have mature hedging along the front boundary.

The Proposal.

One can quite understand the families need to replace this dwelling on both

counts and the proposed replacement is a modern interpretation of the

existing characteristics of the surrounding buildings.  This is important as

while the building cannot currently be seen from the road, the hedging will not

last forever so one must be cognisant of the possibility of the new structure

being exposed to the street scene sometime in the future.

As the building stands high relative to any possible public viewpoint, the

hipping of the main ridge combined with the lower eave, softens the outline

and therefore reduces the impact of the main body of the building on the

existing setting.  The application has respected the 25% rule, which is

refreshing, but as this structure is within the setting of two or three listed

buildings at the core of the conservation area, one would want the roof

covering to be natural state to maintain a high quality environment.

Conclusion.

The existing structure is of a relatively poor standard by today’s parameters

and of no particular architectural interest, so combined with the families

specific requirements is best replaced.  The proposal has worked within the

policy standards and is an acceptable solution to the current problems of this

dwelling, so no objection provided the roof covering is natural slate.

20.03.2024.Tim J S Dyer, B.Sc.,Dip.Arch.(Birm), Grad.Dip.Conservation(AA), RIBA. Built Heritage Consultant.