## Sheet1
Planners comments | AAP amendments
Officer response 6th September 2024
Overall layout The changes to the overall layout are generally considered to be acceptable, with garden sizes and separation distances meeting the required standards. However the position of the parking for plot 455 creates an awkward feature in the streetscene and needs to be reconsidered. | Layout amended for plots 453-460
Internal Space Standards and Accessibility Standards Local Plan Policy DM30 “Internal space standards for new residential development” requires all new dwellings to meet the Nationally Described Space Standards (NDSS). I note that a NDSS compliance schedule has been submitted with the application, however this only provides details in relation to some of the standards and some further information or amendments are required as follows: • Please amend the schedule to include floor areas and widths of all bedrooms to demonstrate compliance with the relevant standards as some of the rooms do not appear to comply. • The schedule lists the Denton house type as a 2B3P but the floor plans show it to be 3B4P. • The schedule states that 2.69 sq.m. of built-in storage is provided for the Fordwood house type, but the floor plan only shows 1 small storage cupboard in bedroom 3, which is less than 2.69 sq.m. • The schedule states that 3.21 sq.m. of built-in storage is provided for the Beauwood house type, but the floor plan only shows 1 small storage cupboard on the first floor landing, which is less than 3.21 sq.m. • Is the dressing room shown on the Clearwood house type being proposed as part of the built-in storage requirements? Local Plan Policy DM29 “Dwellings with higher accessibility standards” sets out the higher national access standards that residential development is required to meet. I note the comment in your covering letter that this application should not be required to meet the requirements of this policy, however, please could you confirm if all units comply with M4(1) standard (Visitable dwellings). | Miller Homes standard NDSS complient floor plans substitute into drawings. NDSS Compliance Schedule amended to show room sizes and dimensions.
Rear Access and Refuse Collection Please provide a plan showing where the gates providing rear access to the gardens are proposed to be located. Assuming the rear access gate for plot 447 is proposed to the west to tie in with the refuse collection route shown on drawing PH3D_REFUSE_PLAN rev A then it needs to be reconsidered as the route for the refuse does not work with the proposed front boundary railings (which are required) for plot 447. It may be better positioned on the eastern boundary. | Rear accesses shown on Enclosures Plan
Boundary treatments To ensure a high quality streetscene and provision of appropriate boundary treatments drawing PH3D_ENCLOSURES rev A needs to be amended as follows: • Returns need to be shown on the front boundary railings so that they join with another boundary treatment or house wall. • Front boundary railings need to be added to plots 451 and 452. • Given their length and prominence brick walls need to be used on the boundary of plot 455 that runs between the house and the drive of 454; either side of the drive for plots 447 & 451; either side of the drive for plot 448; and the boundary between plot 668 and its drive. | Railings and wall amended and shown on Enclosures Plan
Parking The overall level of car parking provision is considered to be acceptable, but as noted above the provision of car parking spaces for plot 455 needs to be reconsidered. In addition the following amendments or additional information is required: • Floor plans and elevations of the proposed garages to be submitted - with single garages measuring 3m x 6m internally and double garages measuring 6m x 6m internally. • Secure cycle parking provision needs to be shown on the layout for all plots that do not have a garage, with floor plans and elevations of the proposed storage facilities to be submitted. | Plots 453-460 amended. Garage & shed drawings provided.
Landscape The soft landscape proposals are generally considered to be acceptable, however the soft and hard landscape drawings are not consistent with each with regard to the surfacing of paths and service margins. In addition all of the road serving Phase 3D should be block paved, as originally proposed. Please amend the plans accordingly.
Drainage Given the changes to the layout please provide details of the proposed drainage strategy for this revised layout. | Drainage details to follow
Residential Amenity Detailed plot by plot comments will follow but please note the following amendments are required to ensure that the proposed layout does not have an adverse impact on the residential amenities of the occupiers: • Plots 445, 446, 449 & 450 (Clearwood house type) - the window for the en- suite serving bedroom 2 shall be obscure glazed with any opening parts being top hung only. • Plot 452 (Braxton house type) - the landing window shall be obscure glazed with any opening parts being top hung only. • Plots 453 & 454 (Denton house type) - the window serving the stairs shall be obscure glazed with any opening parts being top hung only. • Plots 455 & 460 (Loxton – Special house type) - the landing window shall be obscure glazed with any opening parts being top hung only. • Plots 456 - 459 (Baymont house type) - the landing window shall be obscure glazed with any opening parts being top hung only. • Plot 668 (Beauwood house type) - the en-suite window shall be obscure glazed with any opening parts being top hung only. In making these amendments please ensure the floor plans and elevations are both marked accordingly | Windows amended and added on house type plans and elevation together with plot handings.
Materials The details of the proposed materials are generally acceptable, subject to the following amendments: • The key to drawing 817072/PH3D_MATERIALS_PLAN rev A needs to include a reference to the texture of the Iron Grey boarding being cedar, as it is for the Anthracite Grey boarding. | Reference added to key.
Officer response 10th September 2024
Plot by plot comments • Plots 445, 446, 449 & 450 (Clearwood house type) – the floor plan and elevations are not consistent with regard to the width of the bedroom 1 window. In addition the floor plan and layout are not consistent with regard to the handing of plot 449. • Plots 447, 448, 451 & 462 (Foordwood house type) – the internal layout needs to be amended so that a window can be provided above the front door as the expanse of window to void is too large as currently proposed on the front elevation. On the previously approved DR house type, which is a similar L- shaped property, this was achieved by having the wall between bedroom 2 and 3 positioned further to the right, providing room for a third window to be added in bedroom 2. In addition there is an unlabelled room on the first floor, please confirm what it is and label it accordingly. In amending the plans please also note that the floor plans and layout are not consistent with regard to the handing of the unit on plot 451 - either amend the layout or annotate the floor plans and elevations to show that the unit is handed. Please ensure the revised house type meets all the Nationally Described Space Standards and update the schedule accordingly. • Plots 453 & 454 (Denton house type) - the floor plan and elevations are not consistent with regard to the width of the bedroom 1 window and also need to be amended to show a ground floor W.C. window. • Plots 455/456 and 459/460 (Lockton-S and Baymont house types) – the pairing of a Lockton-S and Baymont house type together creates 2 pairs of unbalanced semi-detached properties with each property in the pair being a different width and having different fenestration patterns. While it is noted they have been positioned either side of a pair of Baymont house types it is not considered that this symmetry in plan form will be apparent in the streetscene and the proposed layout would instead create discordant features in the streetscene. The layout should be amended to enable 2 of each house type to be paired together. • Plots 456 - 459 (Baymont house type) – whilst amending the plans to address the comments above please ensure the floor plans and elevations for all Baymont plots show the window serving the ground floor hall that is shown on the elevations for plots 457 and 458. In addition the floor plans and elevations are not consistent with regard to the design of the rear kitchen/dining room door. • Plot 461 (Hampton house type) – the floor plans and elevations need to be amended to show an obscure glazed ground floor W.C. window and an obscure glazed first floor en-suite window. • Plot 668 (Beauwood house type) – the floor plan and elevations are not consistent with regard to the width of the bathroom window. • Chimneys should be added to plots 445, 446, 449, 450, 455/456, 457/458 and 459/460 as all dwellings, or pairs of semi-detached dwellings, had chimneys on the previously approved plans for Phase 3D. | House type drawings amended to correct floor plans and amend and add windows where required. Chimneys added to larger detached plots.