## Sheet1
Planners comments | AAP amendments
Officer response 27th September 2024
Overall layout The changes to the overall layout are generally considered to be acceptable, with separation distances meeting the required standards. However it is noted that the proposed planting shown on the coloured planning layout (drawing PH1H_1i_PLAN_01 rev A) is not consistent with the proposed planting shown on the landscape drawings. It is presumed that the planting shown on the landscape drawings is correct, and this is considered to be acceptable, and that shown on the coloured planning layout is for illustrative purposes only. However, all plans should be consistent so please ensure that the coloured planning layout reflects what is proposed on the landscape plans, particularly with regard to tree planting. In addition, in looking at the Enclosures Plan (drawing PH1_1i_ENCLOSURES rev A) there are a couple of instances where there does not appear to be sufficient space for the front boundary treatments (plots 131 and 134), such that the dwellings may need to be repositioned. Other detailed points that need resolving are set out below. In amending the plans to address these issues please ensure the layout continues to meet the Council’s standards with regards to separation distances, garden sizes, etc | Layout amended for to provide more space for landscaping and garden sizes.
Plot numbering What were previously plots 114, 115 and 116 have been labelled the opposite way round on the proposed site layout submitted as part of this application, but the garden areas schedule has the plots being in the original order, with house type 4S being listed on plot 114 and house type 2 being listed on plots 15 & 116. Please check all plans, streetscenes and schedules and make the necessary amendments to ensure they are consistent with each other. | Numbering reverted back to original layout
Garden sizes Whilst the Garden Sizes Schedule rev A and Garden Areas Plan (drawing PH1H_1i_GARDEN_PLAN rev A) show all sites to meet the minimum requirement for the garden to be 60% of the floor area please re-check the garden measurements as they do not all seem to be correct, e.g. plot 139 is said to have a garden of 88.7 sq.m. and plot 140 a smaller garden of 81.3 sq.m., but the garden for plot 140 looks bigger on the site layout than that for plot 139. In addition the GIAs listed on the Garden Sizes Schedule rev A are not consistent with the Boorley Gardens RM1 – Overall Accommodation Schedule with regards to the Beauwood, Braxton, Briarwood, Clarkston, Clearwood, Crosswood, Faverwood, Fordwood and House Type 3. Also the GIAs listed for those units that are not being amended as part of this application (plots 103-113 and 151-159 and 176, 177) are not consistent with those shown on previously approved documents (see attached schedule). Please check all measurements and amend the schedules and drawings accordingly, ensuring that they are correct and consistent with each other. In addition to gardens being required to be a minimum of 60% of the total floor space any gardens within 30 degrees of north need to be a minimum of 12m in length for a 2 storey dwelling and 14m for a 3 storey dwelling. The following amendments need to be made to ensure compliance with this standard: • Plots 114-116 to be increased in length to 12m. • Plot 166 to be increased in length to 12m. | Garden sizes amended to plots 114-116 & 166 to 12m. Schedule updated.
Internal Space Standards and Accessibility Standards Local Plan Policy DM30 “Internal space standards for new residential development” requires all new dwellings to meet the Nationally Described Space Standards (NDSS). It is noted that a NDSS compliance schedule has been submitted with the application, however this only provides details in relation to some of the standards and some further information or amendments are required as follows: • Please amend the schedule to include floor areas and widths of all bedrooms to demonstrate compliance with the relevant standards as some of the rooms do not appear to comply. • The schedule lists the Denton house type as a 2B3P but the floor plans show it to be 3B4P, although bedroom 3 does not appear to meet the minimum size of 7.5sq.m. On the accessibility standards schedule the Denton is described as a 2-bed + study. Please be consistent in how the house type is described and demonstrate that it meets the necessary NDSS requirements. • The schedule states that 2.5 sq.m. of built-in storage is provided for the Braxton house type, but the floor plans only show approximately 2 sq.m. • The schedule states that 2.69 sq.m. of built-in storage is provided for the Fordwood house type, but the floor plan only shows 1 small storage cupboard in bedroom 3, which is less than 2.69 sq.m. • The schedule states that 3.21 sq.m. of built-in storage is provided for the Beauwood house type, but the floor plan only shows 1 small storage cupboard on the first floor landing, which is less than 3.21 sq.m. • The schedule states that 3 sq.m. of built-in storage is provided for the Briarwood house type, but the floor plans only show approximately 2.5 sq.m. • Is the dressing room shown on the Clearwood and Hampton house types being proposed as part of the built-in storage requirements? • The schedule states that 2.58 sq.m. of built-in storage is provided for the Portwood house type, but the floor plan only shows 1 storage cupboard on the ground floor, which is less than 2.58 sq.m. • Bedroom 3 in the Braxton house type does not appear to meet the minimum size of 7.5sq.m. • The Type 3S is a 3B6P which requires a GIA of 102.sq.m., but the schedule lists it as 99.4sq.m. In addition bedroom 3 in the Type 3S does not appear to meet the minimum size of 11.5 sq.m. required for 2 bed spaces. • Bedrooms 3 & 4 in the Type 4S does not appear to meet the minimum size of 7.5sq.m. In assessing the internal space standards it was noted that the pdf settings of the following drawings have not been saved correctly such that the drawings do not scale accurately. Please adjust the settings accordingly. • PH1H_1i_FORWOOD_S1_P2 “Fordwood – Suburban – Floor Plans – Plot 182” • PH1H_1i_TYPE_S1_P3 “Affordable Type 2 – Suburban – Floor Plans – Plots 188 & 191” Local Plan Policy DM29 “Dwellings with higher accessibility standards” sets out the higher national access standards that residential development is required to meet. I note the comment in your covering letter that this application should not be required to meet the requirements of this policy, however, please could you confirm if all units comply with M4(1) standard (Visitable dwellings). | Miller Homes NDSS standrad floor plans used.
Rear Access Please provide a plan showing the locations of the rear access gates and check them against the proposed landscape drawings to ensure there is no planting proposed that would conflict with the gate positions. | Shown on Enclosures Plan
Boundary Treatments To ensure a high quality streetscene and provision of appropriate boundary treatments drawing PH1H_1i_ENCLOSURES rev A needs to be amended as follows: • Ensure the return of the railings on the northern side boundary of plot 109 extends to meet the boundary wall or dwelling. • Change the front boundary treatment of plots 110 and 133 to railings to provide a consistent appearance in the streetscene. • Extend the proposed railings in front of plot 111 the full width of the front elevation. • A low hedge should be provided in front of plot 118. • Remove the line of picket fencing shown in front of the side boundary wall on plot 119. The space between the side boundary brick wall and the footpath does not need to be further enclosed. • Tidy up the line of picket fence in front of plot 122 as it extends across part of the drive for 121, ensuring that the return extends to meet the dwelling. • There does not appear to be sufficient space for the picket fence to the side of plot 131 around the bay window. Please amend the layout to set the dwelling further back from the road so that there can be sufficient space between the picket fence and all of this elevation. In addition all elements of the boundary of the rear garden between/adjacent to the elevation and drive should be demarcated by a brick wall given their public presence and the picket fence in front of this boundary should be removed as the space between this boundary and the footpath does not need to be further enclosed. Furthermore the position of the picket fence around the front elevation needs to be tidied up. • The close boarded fence between the dwelling on plot 128 and the drive of plot 129 should be removed. • There does not appear to be sufficient space for the picket fence in front of plot 134. Please amend the layout to set the dwelling further back from the road so that there can be sufficient space between the picket fence and the front elevation. In addition remove the line of picket fencing shown in front of the side boundary wall. The space between the side boundary wall and the footpath does not need to be further enclosed. • The rear boundaries of plot 137, 147 & 148 should be demarcated by a brick wall given their public presence. • Ensure the return of the railings on the western side boundary of plot 142 extends to meet the dwelling. • Ensure the return of the picket fence on the eastern front boundary of plot 151 extends to meet the dwelling. • The proposed railings should be extended across the full width of the front elevations of plots 162 & 185. | All updated on revised Enclosures Plan
Parking The residential parking standards as set out in the Council’s “Residential Parking Standards” SPD require 2 car parking spaces per 1, 2 & 3-bed and 3 spaces per 4- bed. As such please amend the layout to provide Plot 116 with 3 parking spaces as it is a 4-bed unit. In addition it is noted that in amending the layout 8 formal visitor parking spaces have been lost, and some of the changes have been made to areas outside of the red edge indicated on drawing PH1H_1i_PLOT_SUB_PLAN rev A “Phases 1H & 1i – Plot Substitution Plan”. Please amend the layout to show the same number of formal parking spaces as previously approved. If any amendments are made outside of the red edge then this will need to be amended and the description adjusted accordingly.In addition the following amendments or additional information is required: • Floor plans and elevations of the proposed garages to be submitted - with single garages measuring 3m x 6m internally and double garages measuring 6m x 6m internally. • Secure cycle parking provision needs to be shown on the layout for all plots that do not have a garage, with floor plans and elevations of the proposed storage facilities to be submitted. | Number of spaces reverted back to those approved. Garage & shed drawings produced
Landscape Please amend drawing MILL21068 14 Sheet 1 to show the drive serving plots 134 & 135 to be block paved, as previously approved. In amending the plans please note that the roof forms shown on the landscape drawings for a number of properties are not consistent with those shown on the site layout and elevations. All plans should be consistent. | By landscape consultant
Residential amenities The following amendments are required to ensure that the proposed layout does not have an adverse impact on the residential amenities of the occupiers: • All bathroom, en-suite and W.C. windows for all house types shall be annotated as obscure glazed. • Hampton house type (all plots) - the window serving the dressing room shall be obscure glazed and the bathroom window shall be obscure glazed, with any opening part being top hung only. • Plots 114 & 115 (House Type 2) - the first floor side landing window shall be obscure glazed with any opening parts being top hung only, to prevent overlooking of plots 104 and 116. • Plots 117 & 129 (Briarwood House Type) – the first floor side landing window shall be obscure glazed with any opening parts being top hung only, to prevent overlooking of plots 129 & 130. • Plot 118 (Briarwood House Type) – the bathroom window shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plot 119. • Plot 120 (Faverwood House Type) – the en-suite window shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plots 118 & 119. • Plot 122 (Briarwood House Type) – the first floor side bathroom and landing windows shall be obscure glazed, with any opening parts being top hung only, to prevent overlooking of plots 121 and 123. • Plots 125 & 172 (Beauwood House Type) – the en-suite window shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plots 123, 124 & 171. • Plots 134 & 135 (Braxton House Type) – the first floor side landing window shall be obscure glazed with any opening parts being top hung only, to prevent overlooking of plots 134 & 135. • Plots 137-140 (Clarkston House Type) – the 2nd floor side bedroom 1 window shall be obscure glazed to prevent overlooking/loss of privacy for plots 136- 141. In addition the bathroom window and 2nd floor side bedroom 1 window on plot 140 shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plot 141. • Plots 141 & 166 (Crosswood House Type) – the en-suite 2 window shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plots 142 and 167. • Plot 170 (Briarwood House Type) – the bathroom window shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plot 171. • Plots 183 & 184 (Denton House Type) – the side window serving the stairs shall be obscure glazed, with any opening part being top hung only to prevent overlooking of plots 182 & 185. • Plots 189 & 190 (Type 3) – the side ground floor hall and living room windows and the side first floor landing window shall be obscure glazed to prevent overlooking between properties. To ensure clarity please ensure that any windows that are to be obscure glazed and/or with any opening parts top hung only, are annotated as such on both the floor plans and elevations, with an explanation of any letters or character used for the annotation. | House type now show obscured, non opening and additional windows in line with comments.
Materials The details of the proposed materials are generally acceptable, subject to the following amendments: • Add the materials proposed for the garages on plots 117, 118, 130, 185 & 186. • Change the roof materials on the garages for plots 126, 127, 128 & 164 to red to match those used on the roof of the dwelling. • Change the roof materials on the garage for plot 129 to slate to match those used on the roof of the dwelling. • Change the roof materials on the garages for plots 179 & 180 to brown to match those used on the roof of the dwelling. | Materials Plan updated accordingly
Streetscenes Please make the following amendments to the streetscenes: • Change the reference for plot 132 on Streetscene 1 from a Fordham house type to a Fordwood house type. • Remove the trees from the streetscenes (not from the landscape drawings) that are obscuring the images of the proposed dwellings as they hinder the assessment of the streetscene. • In removing the trees shown on the streetscene (not from the landscape drawings) in front of plots 109, 175, 182 & 190/191 please ensure a chimney is shown on these plots, as previously approved. • Reinstate the chimney on plots 110-111, as previously approved. • The proposed railings should be shown to the side of plot 185 and front of plot 167 to be consistent with the Enclosures Plan. • Extend the proposed railings the full width of the front elevation of plots 187 and 192 to be consistent with the Enclosures Plan. In addition please ensure the relevant streetscene plans are also updated to reflect any amendments to the layout, boundary treatments and elevations. | Stree Scenes amendde accordingly
Affordable housing The proposed affordable housing provision is considered to be acceptable in general but please note the amendments required in relation to some of the individual plots. | Plot amendments
Road and open space adoption Please provide a plan showing which areas are to be offered for adoption and which are intended to be managed and maintained by a private management company, noting the importance of street trees being included within land that is to be offered for adoption or maintained by a private management company, and not being on land that is to be privately owned. | Layout provided by Miller Homes
Plot by plot comments In addition to the comments made above, the following amendments to the house types are required: • Briarwood, Denton, Faverwood & Hampton house types - an obscure glazed window should be added to the ground floor W.C on all plots. • Fordwood house type - the internal layout needs to be amended so that a window can be provided above the front door as otherwise the expanse of window to void is too large. On the previously approved DR house type, which is a similar L-shaped property, this was achieved by having the wall between bedroom 2 and positioned further to the right, providing room for a third window to be added in bedroom 2. In addition there is an unlabelled room on the first floor, please confirm what it is and label it accordingly, noting that the accessibility standards schedule lists it as a 3-bed + study. • Portwood house type - an obscure glazed window should be added to the ground floor W.C and bedroom 1 en-suite window on all plots. The en-suite window should also be annotated as top hung only. • Plots 119, 135 & 185 (Braxton) – on drawing PH1H_1i_BRAXTON_S1_P2 rev A the revision notes states that this unit is for plot 134 only, which does not appear to be correct. Please confirm what changes were made. • Plot 131 (Beauwood house type) – the porch style should be changed to a simple flat roof canopy, similar to that proposed on plots 134 & 135, as the current porch surround is out of character with the boarding at first floor. • Plots 133, 168, 173 & 181 (Hampton house type) – the en-suite should be provided with an obscure glazed window, with any opening parts being top hung only. | Picked up as part of the house type amendements and NDSS floor plans.
Inconsistencies In addition to any others listed above the following inconsistencies between plans have been found and need to be corrected: • The layout should be amended to show the handing of the units on plots 109- 111; 114-116, 154 and 187-192, or amend the floor plans and elevations to include the information. • The floor plans and elevations for plot 135 are not consistent with regard to the handing of the unit. From the layout it would appear that the elevation is correct given that the layout, with the use of “(opp)” says that the house type is handed on plot 135. Please amend the plans accordingly. • Drawing PH1H_1i_TYPE2_S1_P1 rev A shows a pair of semi-detached properties, but lists 2 individual plots – plots 147 and 155, as these are paired with a Type 3S. The floor plan should make it clear which handing is relevant for each of these individual plots. • With the use of “(opp)” the layout indicates that the units on plots 164/165, 173, 182 & 185 are handed, but this not consistent with what is actually shown on the layout, floor plans and elevations. Please amend the plans accordingly to ensure they are consistent. • With the use of “(opp)” the layout indicates that the units on plots 127 & 128 are handed, which is consistent with what is shown on the floor plans, but not the elevations. Please amend the plans accordingly to ensure they are consistent. • The floor plans and elevations (all versions) for the Beauwood house type are not consistent with regard to the width of the bathroom window and the shape of the bay window. • The floor plans and elevations (all versions) for the Braxton house type are not consistent with regard to the width of the rear landing window. • The floor plans and elevations (all versions) for the Briarwood house type are not consistent with regard to the width of the kitchen window. • The floor plans and elevations (all versions) for the Clarkston house type are not consistent with regard to the width of the 2nd bedroom 3 window and the use of roof lights to serve the kitchen/family room. • The floor plans and elevations (all versions) for the Clearwood house type are not consistent with regard to the width of the bedroom 1 window. • The floor plans and elevations (all versions) for the Faverwood house type are not consistent with regard to the design of the patio doors with side panes. • The floor plans and elevations for the Fordwood house type are not consistent with regard to the use of a first floor window above the front door, the rear kitchen window and shape of the bay window. • The floor plans and elevations (all versions) for the Hampton house type are not consistent with regard to the design of the bedroom 3 window. In addition the floor plans and elevations for the Hampton house type on plots 133, 168 & 173 are not consistent with regard to the handing of the unit. The layout indicates they are handed, which is consistent with the floor plans. • The floor plans and elevations (all versions) for the Type 2 house type are not consistent with regard to the positioning of the living room windows and patio doors. • The floor plans and elevations for the Type 3 house type on plot 110 are not consistent with regard to the handing of the unit and the elevations for plots 110, 189 & 190 do not show the side living room window, which is required. • The floor plans and elevations for the Type 4S house type on plot 109 are not consistent with regard to the handing of the unit. | Picked up as part of the house type amendements and NDSS floor plans.