## Sheet1
Phase 1H/1i Comments on layout
| Overall Layout | JB Comments to EBC 200125
The overall layout is generally considered to be acceptable, however various detailed points still need to be addressed. It was previously requested that the planting shown on the proposed layout be consistent with that shown on the landscape plans.
| Changes have been made to the layout but the landscape plans were not amended as part of the submission received on 21 October 2024 and are not consistent with the latest layout. Please amend the landscape plans accordingly, including in relation to the layout of plots 14-16 and the distribution of parking bays on the northern, eastern and southern boundaries and adjacent to plots 111 and 130. | Layout consistent with planning layout
| In addition drawing 49017-ECE-XX-XX-DR-C-0001 rev P01 “Levels Strategy – Phase 3 (3H & 3I) needs to be amended to reflect the revised layout, including the plot numbering. | Now included in folder.
Garden Sizes
| The Garden Sizes Schedule has been amended but is still referred to as rev A and is not consistent with the Garden Areas Plan (drawing PH1H_1i_GARDEN_PLAN rev B), e.g. plots 114, 131, 169 & 191. Please make the necessary amendments to ensure the plan and schedule are consistent with each other and give any amended document or plan a new revision letter. | Now amended and provided as Rev. C
| In addition the GIAs listed on the Garden Sizes Schedule rev A are not consistent with the Boorley Gardens RM1 – Overall Accommodation Schedule with regards to the Faverwood and House Type 3. In addition it is noted that all of the affordable house types are shown to be larger on the Boorley Gardens RM1 – Overall Accommodation Schedule (received 1.7.24) than they are on the Garden Sizes Schedule (received 21.10.24). These documents should be consistent with each other. | All plots comply with NDSS in accordance with Policy DM30 of the Local Plan.
Internal Space Standards and Accessibility Standards
Local Plan Policy DM30 “Internal space standards for new residential development” requires all new dwellings to meet the Nationally Described Space Standards (NDSS). It is noted that a revised NDSS compliance schedule has been submitted providing further detail and that the response in the spreadsheet says these are Miller’s standard NDSS house types. However they do not appear to meet the required standards and the schedule contains a number of errors and does not demonstrate compliance with the NDSS, as set out below:
| The NDSS requires a single room to be a minimum of 2.15m wide but the dimensions given in the schedule indicates that this standard is not met for the Type 4 house type (bedroom 3). | Type 4 doesn’t form part of this application and the schedule has been amended accordingly please see NDSS Schedule.
| The NDSS requires 1 double room to be a minimum of 2.75m wide and all other double/twin rooms to be a minimum of 2.55m wide, but the dimensions given in the schedule indicates that this standard is not met for the Denton (bedroom 1) or | The schedule confirms Bedroom 1 meets the minimum NDSS standards for a double bedroom (2.75m). As shown by the layout, bedroom 2 is provided as a single bedroom (2.15m) in line with NDSS standards (10(c)).
| Fordwood (bedrooms 1, 2 & 3) house types. | The schedule has been amended and confirms in line with NDSS standards.
| The NDSS requires single rooms to have a minimum floor area of 7.5m² , but when looking at the floor plans Braxton bedroom 3; Crosswood bedroom 3; Type 3 bedroom 3; Type 4S bedrooms 3 & 4 appear to be less than the 7.5m² required. | Measurements have been added to floor plans confirming they exceed 7.5m2 in line with NDSS standards
The NDSS requires double/twin rooms to have a minimum floor area of 11.5m², but the area given in the schedule indicates that this standard is not met for the Portwood (bedrooms 1 & 2) and Clarkston (bedroom 3) house types. In addition when looking at the dimensions on the floor plan, Fordwood bedroom 2; Beauwood bedroom 2; Briarwood bedroom 3; Clearwood bedroom 3; Faverwood bedrooms 2 & 3; Type 3 bedroom 1; Type 3S bedroom 2; Type 4 bedroom 2 appear to be less than the 11.5m² required.
| Portwood (bedrooms 1 & 2) | Bedroom 2 is shown as a single bedroom and the dimensions meet NDSS requirements.
| Clarkston (bedroom 3) house types | Dimensions are clarified on the NDSS Schedule confirming compliance with NDSS requirements and PH1H_1i_CLARKSTON_S1_P1 - D
| Fordwood bedroom 2 | Now amended in NDSS Schedule, PH1H_1i_FORWOOD_S1_P1 - C and PH1H_1i_FORWOOD_S1_P2 - B
| Beauwood bedroom 2 | Now amended in NDSS Schedule and PH1H_1i_BEAUWOOD_S1_P1 - C
| Briarwood bedroom 3 | Now amended in NDSS Schedule and PH1H_1i_BRIARWOOD_S1_P1 - C
| Clearwood bedroom 3 | Now amended in NDSS Schedule and PH1H_1i_CLEARWOOD_S1_P1 - B
| Faverwood bedrooms 2 & 3 | Now amended in NDSS Schedule and PH1H_1i_FAVERWOOD_S1_P1 - C
| Type 3 bedroom 1 | Now amended in NDSS Schedule and PH1H_1i_TYPE3_S1_P2 - A
| Type 3S bedroom 2 | Now amended in NDSS Schedule and PH1H_1i_TYPE3S_S1_P1 - C
| Type 4 bedroom 2 | Type 4 doesn’t form part of this application and the schedule has been amended accordingly, please see NDSS Schedule.
The dimensions in the schedule appear to be incorrect for:
| Fordwood bedroom 3, | Now amended in NDSS Schedule, PH1H_1i_FORWOOD_S1_P1 - C and PH1H_1i_FORWOOD_S1_P2 - B
| Clarkston bedrooms 2 & 3, | Now amended in NDSS Schedule and PH1H_1i_CLARKSTON_S1_P1 - D
| Clarkston bedroom 4 which isn’t shown on the plans | Apologies, previous NDSS schedule was incorrect as the Clarkston house type only has three bedrooms.
| Type 2 bedroom 2 | Now amended in NDSS Schedule, PH1H_1i_TYPE2_S1_P1 - D and PH1H_1i_TYPE2_S1_P3 - B
| The schedule states that 2.5m² of built-in storage is provided for the Braxton house type, but the floor plans only show approximately 2m². | Built-in wardrobe added for additional storage. Now amended PH1H_1i_BRAXTON_S1_P1 - C and PH1H_1i_BRAXTON_S1_P2 - C
| The schedule states that 2.69m² of built-in storage is provided for the Fordwood house type, but the floor plan only shows 2 storage areas that are less than the 2.69m² stated and the 2.5m² required. | Additional storage areas added to PH1H_1i_FORWOOD_S1_P1 - C and PH1H_1i_FORWOOD_S1_P2 - B
| The schedule states that 3.21m² of built-in storage is provided for the Beauwood house type, but the floor plan only shows 1 small storage cupboard on the first floor landing, which is less than 3.21m² stated and 3m² required. It is also noted that the floor plan now shows a possible boiler cupboard, accessed from the landing but also bedroom 4, as the cupboard walls are not properly shown. | Storage areas highlighted on PH1H_1i_BEAUWOOD_S1_P1 - C
| The schedule states that 3m² of built-in storage is provided for the Briarwood house type, but the floor plans only show approximately 2.5m². | Storage areas highlighted on PH1H_1i_BRIARWOOD_S1_P1 - C
| Local Plan Policy DM29 “Dwellings with higher accessibility standards” sets out the higher national access standards that residential development is required to meet. I note the comment in your covering letter that this application should not be required to meet the requirements of this policy, however, as previously requested, please could you confirm if all units comply with M4(1) standard (Visitable dwellings). | Confirm, all houses Miller standard layout M4(1) & NDSS
Rear Access
Thank you for adding the locations of the rear access gates to the Enclosures Plan. A few amendments are required as follows:
| Move the rear access for plot 119 to the end of its garden so access is via its own drive, and not the drive for plot 118. | This has now been amended
| Move the rear access for plot 132 to the side boundary adjacent to the rear elevation as this would be move convenient than a long path to the rear of the garden. | This has now been amended
| Add the rear access gates for plots 182-192. | This has now been amended
| Hard surfaced paths, to be shown on the landscape plans, need to be provided connecting the drive, footpath or road to the rear access gate, with the removal of any intervening planting, for plots 104, 105, 111, 120, 126, 127, 128, 130, 137, 138, 139, 140, 141 and 154. | Amendments made.
| The rear access gate for plot 124 should be repositioned closer to the garage to avoid conflict with the proposed tree. | This has now been amended
Boundary Treatments
The revised Enclosures Plan has addressed most of the previous issues raised but please make the following amendments:
| Plot 131 – as previously requested all elements of the boundary of the rear garden between/adjacent to the elevation and drive should be demarcated by a brick wall given their public presence. In addition the boundaries either side of the drive for plots 131 and 132 should all be brick walls given their prominence in the streetscene | This has now been amended. Please see 817072 - PH1H-1i_ENCLOSURES PLAN-F.
| The rear boundaries of plots 164 & 165 that run between plots 174 & 175 to the south of the landscaped area, should be demarcated by a brick wall, as they were previously. | This has now been amended. Please see 817072 - PH1H-1i_ENCLOSURES PLAN-F.
| The boundary hedges in front of plots 154-161 and 172 need to be added back in as they have been removed on the latest version of the plan. | Although, this area is outside of the application boundary full detail has been added onto Enclosures plan rev F. The amendment to the front of Plot 172 has been made.
| The rear boundary of plot 151 should be demarcated by a brick wall, as it was previously. | This has now been amended. Please see 817072 - PH1H-1i_ENCLOSURES PLAN-F.
parking
| Apologies for not noticing it before, but although the application says that no changes are made to plots 103-113 and 145-159, the layout has been amended and plots 109 and 151 are only provided with 2 parking spaces, but require 3 parking spaces as they are 4-bed properties. Please amend the layout to provide 3 parking spaces for plots 109 & 151, as was previously proposed in the original reserved matters, ensuring that the garden size standard is still met. | This has now been amended.
| In addition as previously requested secure cycle parking provision needs to be shown on the layout for all plots that do not have a garage. Floor plans and elevations of the proposed storage facilities have been submitted, but the plans need to show where they are going to be provided. | Cycle storage has been included for all plots without a garage. Those plots outside of the scope of this application wil be implemented as approved by the relevant Reserved matters consent which include the correct cycle parking. Please advise if we need to change this.
landscape
It is noted that the landscape plans have been amended to reflect the revised layout but some changes have been made that were not requested:
| The tree should be reinstated in the landscaped area between plots 174 and 175 and on the rear boundary of plots 136 & 137, as was shown on the previous landscape plans. | An analysis of tree species and foundations has been conducted to ensure the survival and establishment of trees which will work. Some trees have been moved or the species changed in places. In this revision additional trees have been added in the open space to mitigate this. Additionally, planting has been added between plot 173-175 and north of 136. (please see 14D Sheet 2).
Various tree species have been changed without explanation. Please amend the plans back to show the originally approved species to ensure consistency with the approach proposed for the site as a whole.
Residential Amenities
The following amendments are required to ensure that the proposed layout does not have an adverse impact on the residential amenities of the occupiers:
| Hampton house type (all plots) – as previously requested the bathroom window should be annotated as obscure glazed, with any opening part being top hung only. Only the obscure glazing annotation has been added. | Non-opening added to all first floor windows.
| Plot 104 (Type 3) - the bathroom window should be annotated as obscure glazed on the elevation as it is on the floor plan. | Plot 104 has been approved previously and is beyond the scope of this application.
I am assuming that these drawings have been separated out into 115 and 116 to allow for the changes to be made to the obscure glazing annotation in the last comment. | Plots 105-106, 107-108, 115, 145-146, 147, 155, 156-157, 158-159 (Type 2) – the side hall, living room and landing windows should be annotated as obscure glazed to ensure no undue loss of privacy between neighbouring plots. | Now amended for Plots 114, 115 and 116 only as the remaining plots are outside of consideration. Apologies, the incorrect plot annotation was included on the previous version. Please withdraw Type 2 Rev. C and replace with Rev. D elevation and floor plans
Plots 112, 113, 116, 147, 149-150, 152-153, 176-177 (Type 2) – the first floor landing window should be annotated on floor plans and elevations as obscure glazed with any opening parts being top hung only to prevent overlooking of plots 103,104, 111, 114 and 146.
Plots 114 & 115 (Type 2) - in the annotation for the landing window on the floor plans and elevations the reference to plots 114 and 115 needs to change to 115 and 116 to reflect the renumbering of plots 114-116, noting that the annotation on the side elevations is currently the wrong way round.
| Plots 125 & 172 (Beauwood) - the reference to plot 176 on the annotation for the ensuite bathroom needs to be changed on the floor plan to plot 172, noting that it refers to plot 172 in the top left hand corner, but 176 on the floor plan. | Now amended in PH1H_1i_BEAUWOOD_S1_P1 - C
| Plots 133, 168, 173 & 181 (Hampton) - the side elevations shown on drawings PH1H_1i_HAMPTON_S1_E1 rev B and PH1H_1i_HAMPTON_S1_E4 rev B are not consistent with the handing of the plots. The front and rear elevations are consistent with the floor plans and layout, but the side elevations are not. | Plans amended to reflect correct handings
| Plot 140 (Clarkston) - the side 1st floor bathroom window should be annotated on the elevations, as obscure glazed and with any opening part being top hung only, as it is on the floor plan. | Now amended on PH1H_1i_CLARKSTON_S1_E1 - C; PH1H_1i_CLARKSTON_S1_E2 - C
| Plot 151 (Type 4) - the bathroom window needs to be annotated as obscure glazed on the floor plan and elevation and the windows that are annotated as non-openable also need to be annotated as obscure glazed. | This is outside of the scope of this S73 application.
| Plots 174, 175 & 186 (Portwood) – the side elevation at the bottom of drawing PH1H_1i_PORTWOOD_S1_P1 rev A needs amending to show the obscure glazed, non-opening window at first floor level, instead of ground floor to be consistent with the floor plans, which show this elevation to have a first floor en-suite window. | Now amended PH1H_1i_PORTWOOD_S1_P1 - B
| Plots 189 & 190 (Type 3) - the bathroom window needs to be annotated as obscure glazed on the elevation as it is on the floor plan and the side hall window shall be obscure glazed to prevent overlooking between properties. | Now amended PH1H_1i_TYPE3_S1_P2 - A
Materials
| The details of the proposed materials are generally acceptable, but please add the front door colour for plot 162, as was previously shown. | Now amended 817072 - PH1H-1i_MATERIALS PLAN-C
Streetscenes
Please make the following amendments to the streetscenes:
| As previously requested, please remove the trees from the streetscenes (not from the landscape drawings) that are obscuring the images of the proposed dwellings as they hinder the assessment of the streetscene. Sheet 2 still has multiple trees shown. | Trees removed directly in front of dwellings
| In removing the trees shown on the streetscene (not from the landscape drawings) please ensure the chimneys are clearly shown as proposed, including on plots 109, 175 and 182 and reinstate the chimney on plots 110-111 on the top streetscene on Sheet 1, as previously approved. | Plot 109 (removed from Sheet 1 but included on sheet 2), 110 and 111 have been removed from streetscene 01 as they do not form part of this application; Plot 175 has its chimney re-instated;
| The proposed railings should be shown to the side of plot 185 and front of plot 167 to be consistent with the Enclosures Plan. Please ensure the streetscenes are amended to be consistent with the Enclosures Plan. | All amendments made to ensure consistency with Enclosures Plans and landscape drawings
Amend the streetscene to be consistent with the amendments to the elevations e.g. Hampton house type on plot 133 and handing of plots 179 & 180 as shown on the layout.
In addition please ensure the relevant streetscene plans are also updated to reflect any amendments to the layout, boundary treatments and elevations needed to address the comments elsewhere in this letter.
Road and open space adoption
| As previously requested, please provide a plan showing which areas are to be offered for adoption and which are intended to be managed and maintained by a private management company, noting the importance of street trees being included within land that is to be offered for adoption or maintained by a private management company, and not being on land that is to be privately owned. | Submitted with this application as M434 41A Adoptable Areas Plan. Open Space Adoption Plan also submitted.
Plot by plot comments
In addition to the comments made above, the following amendments to the house types are required:
| Fordwood house type - I note the Fordwood house type has been amended to show a faux window above the front door to address the concerns with the previous design that the expanse of window to void was too large, and that a photo of the proposed type of faux window was submitted under X/24/97426 for Phase 3D. Unfortunately the proposed faux window is not acceptable on such prominent corner plots as it introduces a dark, lifeless feature to the front elevation, which would clearly not be viewed as a window, and would stand out as an incongruous feature. An alternative house type is therefore required. | This has now been amended on PH1H_1i_FORWOOD_S1_E1 - B; PH1H_1i_FORWOOD_S1_E2 - C; PH1H_1i_FORWOOD_S1_P1 - C; and, PH1H_1i_FORWOOD_S1_P2 - B
| The drawing title for drawing 817072/PH1H_1i_CLARKSTON_S1_E1 rev B refers to plots 137 & 138, but the annotation in the top left hand corner refers to plots 137-138 and 139-140. Similarly the drawing title for drawing 817072/PH1H_1i_CLARKSTON_S1_E2 rev B refers to plots 139 & 140, but the annotation in the top left hand corner refers to plots 137-138 and 139-140. Please amend the annotation on the drawings so that it only refers to the plots included in the drawing titles. | Now amended PH1H_1i_CLARKSTON_S1_E1 - C; PH1H_1i_CLARKSTON_S1_E2 - C
| A revised floor plan for plot 114 (Type 4S) needs to be submitted following the renumbering of plots 114-116. | Now amended for PH1H_1i_TYPE4S_S1_P1 - D
Inconsistencies
In addition to any others listed above the following inconsistencies between plans have been found and need to be corrected:
| Reference to plots 147 & 155 should be removed from the drawing title 817072/PH1H_1i_TYPE2_S1_P1 rev B as the drawing is not relevant to these plots and they are not listed in the plot numbers at the top of the drawing. | This has now been amended in PH1H_1i_TYPE2_S1_P1 - D
| Plots 110, 189 & 190 (Type 3) – the front elevation needs to be amended to show the bathroom window above the front door to be obscure glazed, instead of the bedroom 1 window. | This has now been amended in PH1H_1i_TYPE3_S1_E3 - B
Application boundary
| It is noted that the red edge has been changed on the Plot Substitution Plan to include the areas of parking that are to be amended. Given that plots 103-113, plots 145-159 and plots 176 & 177 are shown to be outside of the red edge and therefore unchanged from the previously approved plans, it is unclear why floor plans and elevations have been submitted for these plots. Please clarify if the originally approved house types are being built to, or those plans submitted in relation to this application. If it is these latest plans, then the description of the application will need to be changed. If it is the original plans, then the floor plans and elevations for those plots need to be withdrawn from this application to avoid confusion. | Red line now covers changes for S73. Withdrawing plans with incorrect annotations.
| In addition, in relation to plots 109 and 151, please note the comments above about the need to provide 3 parking spaces for these 4-bed dwellings, as despite being outside the red edge the parking layout has been changed for these properties. | The parking has been altered to reflect the approved layout.
| It is also noted that plot 166 appears to be excluded from this application, but is a different house types to that previously approved. Please confirm if it is proposed to amend the house type on plot 166 to the submitted Crosswood house type. If it is then the red edge needs to be amended on the Plot Substitution Plan to ensure it is included within the application. | Plot 166 forms part of this application