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	Economy, Transport and Environment Department

Elizabeth II Court West, The Castle

Winchester, Hampshire SO23 8UD

Tel:
0300 555 1375 (General Enquiries)


0300 555 1388 (Roads and Transport)


0300 555 1389 (Recycling Waste & Planning)

Textphone 0300 555 1390

Fax 01962 847055

www.hants.gov.uk

	Enquiries to
	Caroline Hein
	My reference
	SWM/2018/0781

	Direct Line
	
	Your reference
	DC/24/98560

	Date
	10th April 2025
	Email
	SWM.consultee@hants.gov.uk


Dear Sir/Madam,

Re: Discharge of condition 15 (Drainage Verification and Management Details) of reserved matters RM/18/83875 for development of 50 dwellings. Land off Crows Nest Lane, Boorley Green, Crows Nest Lane, SO32 2DD  (Relating to Application No. SWM/2018/0781)
Hampshire County Council as Lead Local Flood Authority has provided comments in relation to the above application in our role as statutory consultee on surface water drainage for major developments.
This response does not reflect the position of Hampshire County Council as the Highway Authority.  If there is a potential for the drainage features to be offered for adoption, this will need to be discussed separately with Highways development planning as they might not be considered acceptable by the Highway Authority.
In order to assist applicants in providing the correct information to their Local Planning Authority for planning permission, Hampshire County Council has set out the information it requires to provide a substantive response at  https://www.hants.gov.uk/landplanningandenvironment/environment/flooding/planning
The County Council has reviewed the following documents relating to the above application:
· Combined drainage layout – 19-3368-2101 – Version C6

· Combined drainage layout – 19-3368-2102 – Version C8
· Site Layout: Drainage strategy sheet 1 of 3 – 056.5026C.004 Revision C
· Site Layout: Drainage strategy sheet 2 of 3 – 056.5026C.005 Revision C
· Site Layout: Drainage strategy sheet 3 of 3  - 056.5026C.006 Revision E
In order for us to provide a substantive response, the following information is required:
We have compared the drainage layout provided in the SuDS verification report against the Site Layout sheets 1, 2 & 3 from the documents in RM/18/83875 – Reserved matters application. The drainage layout is different.
We would need to see a copy of the as built drawings, and confirmation that the Site Layout sheets listed above are the most up to date approved plans.

New hydraulic calculations will also need to be provided as the design appears to have changed which is not in accordance with the approved plans, including the addition of a pump – confirmation will need to be provided to shoe this was approved between planning approval and construction.
We consider that the information provided is insufficient to verify the drainage in relation to discharge of condition 15
As a statutory consultee, the County Council has a duty to respond to consultations within 21 days.  The 21 day period will not begin until we have received sufficient information to enable us to provide a meaningful response.   
Please ensure all data is sent to us via the relevant Local Planning Authority.

If you require additional guidance on providing the correct information, we recommend you use our Surface Water Management Pre-application service which will enable discussions with the reviewing engineer and scope out works that would address the points raised. For full details, please visit:

https://www.hants.gov.uk/landplanningandenvironment/environment/flooding/planning and click on pre-application advice request form.
This response has been provided using the best knowledge and information submitted by the applicant as part of the planning application at the time of responding and is reliant on the accuracy of that information.
Yours faithfully,
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Flood and Water Management Team
Hampshire County Council, 

The Castle, Winchester, Hampshire SO23 8UD 

Web: https://www.hants.gov.uk/landplanningandenvironment/environment/flooding 
General guidance for the application

It is important to ensure that the long-term maintenance and responsibility for Sustainable Drainage Systems is agreed between the Local Planning Authority and the applicant before planning permission is granted. This should involve discussions with those adopting and/or maintaining the proposed systems, which could include the Highway Authority, Planning Authority, Parish Councils, Water Companies and private management companies.

For SuDS systems to be adopted by Hampshire Highways it is recommended that you visit the website at: 

https://www.hants.gov.uk/transport/developers/constructionstandards  for guidance on which drainage features would be suitable for adoption.

Where the proposals are connecting to an existing drainage system it is likely that the authorities responsible for maintaining those systems will have their own design requirements.  These requirements will need to be reviewed and agreed as part of any surface water drainage scheme.

Works in relation to ordinary watercourses

PLEASE NOTE: If the proposals include works to an ordinary watercourse, under the Land Drainage Act 1991, as amended by the Flood and Water Management Act 2010, prior consent from the Lead Local Flood Authority is required.  This consent is required as a separate permission to planning. 

Information on ordinary watercourse consenting can be found at the following link https://www.hants.gov.uk/landplanningandenvironment/environment/flooding/changewatercourse 
It is strongly recommended that this information is reviewed before Land Drainage consent application is made.

For guidance on providing the correct information, we recommend you use our Ordinary Watercourse Consents Pre-application service and help avoid delays occurring at the formal application stage. A Pre-application service for Ordinary Watercourse Consents is available, allowing consents to go through in a smoother, often more timely manner. For full information please visit:

https://www.hants.gov.uk/landplanningandenvironment/environment/flooding/changewatercourse 
Call charges and information apply see www.hants.gov.uk



