| MR DAVID MORSE 45 NEW ROAD NETLEY ABBEY SOUTHAMPTON SO31 5DJ | Application | DC/25/99877 |
| --- | --- | --- |
|  | Please ask for | Gregg Chapman |
|  | Direct dial | 023 8068 8236 |
|  | Email | gregg.chapman@eastleigh.gov.uk |
| Monday 11th August 2025 |  |  |

Dear Mr Morse

Town and Country Planning Act 1990

Planning (Listed Buildings and Conservation Areas) Act 1990

In pursuance of their powers under the above Act and in accordance with your application received on 06 August 2025 and made valid 11 August 2025, the Council, as Local Planning Authority hereby confirm the status of the following conditions in respect of:

| Application No: | DC/25/99674 |
| --- | --- |
| Description: | Discharge of Condition 6 (drainage) of application F/22/92177 (Construction of detached, three-storey 3-bedroom dwelling) approved on 22nd August 2022. |
| Site: | 45 NEW ROAD, NETLEY ABBEY, SOUTHAMPTON, SO31 5DJ |

| Condition | Details | Compliance and Date |
| --- | --- | --- |
| 6 (Drainage) | No development shall start until details for the sustainable disposal of surface water [and disposal of foul sewerage] from the development hereby permitted have been submitted to and approved in writing by the Local Planning Authority. The development shall then accord with the approved details. Reason: To ensure satisfactory provision of foul and surface water drainage. Documents Southern Water Letter (DSA000046290)(dated 04 August 2025) Drawing 2 – Proposed Levels and Dimensions (with surface water drainage and foul water disposal details). Note to Applicant – It is noted that discussion is occurring with Southern Water regarding mains drainage connection. With regard to details of the proposed soakaway, whilst in planning terms such disposal is the preferred option, you will also require Building Regulations approval for the soakaway. This discharge of condition does not imply that Building Regulation approval will be forthcoming. | 11th August 2025 |

Where information has been submitted to discharge a condition, any approval given is subject to compliance with the approved details.

Yours faithfully

Nicholas Parker

Planning Manager