

[image: ]


	







STEPHEN ANDREWS
EASTLEIGH HOUSE
UPPER MARKET STREET
EASTLEIGH
SO50 9YN



	Application  
	DC/25/100302

	
	Please ask for
	Gregg Chapman

	
	Direct dial
	023 8068 8236

	
	Email
	gregg.chapman@eastleigh.gov.uk

	
	
	

	Monday 3 November 2025
	
	



Dear Mr Andrews
	
Town and Country Planning Act 1990
Planning (Listed Buildings and Conservation Areas) Act 1990 

In pursuance of their powers under the above Act and in accordance with your application received on 22 October 2025 and made valid on 23 October 2025, the Council, as Local Planning Authority hereby confirm the status of the following conditions in respect of:

	Application No: 
	DC/25/100302

	Description:	
	Application for discharge of condition 35 (Water Calculations) of planning permission F/20/89500 (Erection of 381 residential units with public open space, hard and soft landscape works, internal roads, footway/cycleways, associated parking spaces, substation, SuDs and associated infrastructure).

	Site: 	
	Land west of Burnetts Lane, Eastleigh, SO30 2HH



	Condition
	Details
	Compliance and Date

	35
	The development shall be implemented in broad accordance with the provisions detailed in Sections 4-12 inclusive of the Sustainability and Energy Statement December 2020 and Sections 4.2-4.6 of the Utilities and Foul Water Statement 26114-RP-IE-002 Issue 02, 10 May 2021. Prior to the occupation of any building within each sub-phase of the development (or, in accordance with a timetable to be agreed in writing with the Local Planning Authority), an as built stage water calculator for that building confirming the predicted internal mains water consumption to achieve a maximum predicted internal mains water consumption of 110 litres/person/day shall be submitted to the Local Planning Authority. The development shall not be carried out otherwise than in accordance with the approved details. Reason: To support a comprehensive approach to high quality design across the site; in line with the guidance set out in the Government’s Ministerial Statement of 25 March 2015 which states that Local Planning Authorities should, from the date of its publication, take into account the government’s intentions in the statement “and not set conditions with requirements above a Code level 4 equivalent”. 

Documents Submitted;

K.A. Watts Water Efficiency Calculator Summary – Revision A

	Approved 3rd November 2025


Where information has been submitted to discharge a condition, any approval given is subject to compliance with the approved details.

Yours faithfully
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Description automatically generated]
Nicholas Parker	
Planning Manager
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Eastleigh Borough Council, Eastleigh House, Upper Market Street, Eastleigh, Hampshire SO50 9YN
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