## Door Schedule
Door Number | Floor | Repair | Replace | Type (Leaf) | Size | Fire Door | Vision Panel | Paint | Replace Handleset | Replace Kickplates | Replace FD Signage | Notes
D001 | G |  |  | 2 |  |  |  | No |  |  |  | Aluminium
D002 | G |  |  | 2 |  |  |  | No |  |  |  | Aluminium
D003 | G |  |  | 1.5 |  | FD30S | Yes | No
D004 | G |  |  | 1 |  |  |  | No
D005 | G |  |  | 1 |  |  |  | No
D006 | G |  |  | 1 |  |  | No | Yes
D007 | G |  |  | 1 |  |  |  | Yes
D008 | G |  |  | 1 |  | FD30S | No | Yes |  |  | FDKS
D009 | G |  |  | 1 |  |  |  | No |  |  |  | Glass Door
D010 | G |  |  | 1 |  | FD30S |  | Yes |  |  | FDKS
D011 | G |  |  | 2 |  |  |  | No |  |  |  | Glazed
D012 | G |  |  | 1 |  |  | No | Yes
D013 | G |  |  | 1 |  |  | No | Yes
D014 | G |  |  | 1 |  |  | No | Yes
D015 | G |  |  | 1 |  |  | No | Yes
D016 | G |  |  | 2 |  | FD30S | Yes | Yes |  |  |  | Paint glazed panel above
D017 | G |  |  | 1 |  | FD30 | Yes | Yes
D018 | G |  |  | 1 |  |  | No | Yes
D019 | G |  |  | 1.5 |  | FD30 | Yes | Yes
D020 | G |  |  | 1 |  |  | No | Yes
D021 | G |  |  | 1 |  | FD30S | No | Yes
D022 | G |  |  | 1 |  |  | No | Yes
D023 | G |  |  | 1 |  |  | No | Yes
D024 | G |  |  | 1 |  |  | No | Yes
D025 | G |  |  | 1 |  |  | No | Yes
D026 | G |  |  | 1 |  |  | Yes | No |  |  |  | UPVC External Door
D027 | G |  |  | 1 |  | FD30S | Yes | No
D028 | G |  | Y | 2 | 1995 x 1800 | FD30S | Yes | Yes |  |  |  | New doors into existing frame. Paint glazed panel above
D029 | G |  |  | 2 | [7 empty] | External Door
D030 | G | Y |  | 1 |  | FD30 | Yes | Yes | Y
D031 | G |  |  | 1 |  | FD30S | Yes | Yes
D032 | G |  |  | 1 |  | FD30 | No | Yes
D033 | G |  |  | 1 |  | FD30 | No | Yes
D034 | G |  |  | 2 |  |  |  | No |  |  |  | External Door
D035 | G | Y |  | 1 |  | FD30 | Yes | Yes | Y | Y | FDKS | Lock hole
D036 | G | Y |  | 1 |  |  | Yes | Yes | Y | Y
D037 | G |  |  | 1 |  |  | No | No |  |  |  | External Door
D038 | G |  |  | 1 |  |  | Yes | Yes
D039 | G |  |  | 1 |  |  | Yes | Yes
D040 | G |  |  | 2 |  |  |  | No
D041 | G | Y |  | 1 |  | FD30 | Yes | Yes | Y | Y | FDKS
D042 | G |  |  | 1 |  |  | No | Yes
D043 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D044 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D045 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D046 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D047 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D048 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D049 | G |  |  | 1 |  |  | Yes | Yes
D050 | G |  |  | 1 |  |  | Yes | Yes
D051 | G |  |  | 1 |  |  | No | Yes
D052 | G |  |  | 1 |  |  | No | Yes
D053 | G |  |  | 2 |  |  | Yes | Yes |  |  |  | Paint glazed panel above
D054 | G |  |  | 1 |  |  | No | Yes
D055 | G |  |  | 2 |  | FD30 | Yes | Yes |  |  | FDKS | Paint glazed panel above, Tighten handles
D056 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D057 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D058 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D059 | G |  |  | 1 |  | FD30S | Yes | Yes
D060 | G |  |  | 1 |  |  | No | Yes
D061 | G |  |  | 1 |  |  | No | Yes
D062 | G | Y |  | 1 |  | FD30S | Yes | Yes |  |  |  | SCREW HOLES
D063 | G |  |  | 1 |  | FD30S | Yes | Yes
D064 | G |  |  | 1 |  |  | Yes | Yes
D065 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D066 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D067 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D068 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D069 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D070 | G |  |  | 1 |  |  | Yes | Yes
D071 | G |  |  | 1 |  | FD30S | Yes | Yes
D072 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D073 | G | Y |  | 1 |  | FD30S | Yes | Yes |  | Y | FDKS
D074 | G | Y |  | 2 |  | FD30S | Yes | Yes |  |  | FDKS | Paint glazed panel above, Rehang, New smoke seals
D075 | G |  |  | 1 |  | FD30 | No | Yes
D076 | G |  |  | 1 |  | ? | Yes | Yes
D077 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D078 | G |  |  | 1 |  |  |  | No |  |  |  | UPVC External Door
D079 | G |  |  | 1 |  | ? | No | Yes
D080 | G |  |  | 2 |  | FD30 | No | Yes |  |  |  | Electrical cupboard
D081 | G | Y |  | 1 |  | FD30S | Yes | Yes | Y |  |  | Fill screw holes, adjust operation
D082 | G |  |  | 2 |  |  |  | No |  |  |  | UPVC External Door
D083 | G |  |  | 1 |  | FD30S | No | Yes
D084 | G |  |  | 1 |  | FD30S | Yes | Yes
D085 | G | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y
D086 | G |  |  | 1 |  |  | No | No |  |  |  | UPVC External Door
D087 | G |  |  | 2 |  | FD30 | Yes | Yes
D088 | G |  |  | 1 |  |  | Yes | No |  |  |  | External Door
D089 | G |  |  | 1 |  | FD30 | No | Yes
D090 | G |  |  | 2 |  | FD30S | Yes | Yes
D091 | G |  |  | 2 |  | FD30 | Yes | No |  |  |  | Steel glazed double door
D092 | G |  |  | 1 |  |  | No | Yes
D093 | G |  |  | 1 |  |  | Yes | Yes
D094 | G |  |  | 1 |  | FD60 | No | Yes
D095 | G | Y |  | 1 |  | FD30S | Yes | Yes |  |  | FDKS | Infill holes to door.
D096 | G |  |  | 2 |  | FD30S | Yes | Yes |  |  |  | Paint glazed panel above
D097 | G |  |  | 1 |  | FD30 | No | Yes |  |  |  | Timber clad to one side
D098 | G |  |  | 1 |  | FD30 | No | Yes |  |  |  | Timber clad to one side
D099 | G |  |  | 2 |  |  | No | Yes
D100 | G |  |  | 1 |  |  | Yes | Yes
D101 | G |  |  | 2 |  |  | No | Yes |  |  |  | Cupboard
D102 | G |  |  | 2 |  |  | No | Yes |  |  |  | Cupboard
D103 | G |  |  | 1 |  |  | Yes | Yes
D104 | G |  |  | 1 |  |  | Yes | Yes
D105 | G |  |  | 1 |  | FD30S | No | Yes
D106 | G |  |  | 1 |  |  | Yes | Yes
D107 | G |  |  | 1 |  |  | No | Yes
D108 | G |  |  | 1 |  | FD30 | No | Yes
D200 | 1 | Y |  | 2 |  | FD30S | Yes | Yes |  | Y |  | Remove door hold open; infill screw holes; Paint glazed panel above
D201 | 1 |  |  | 1 |  | FD30S | No | Yes
D202 | 1 |  |  | 1 |  |  | No | Yes
D203 | 1 | Y |  | 1 |  | FD30S | No | Yes | Y | Y
D204 | 1 |  |  | 2 |  |  | No | No |  |  |  | Cupboard doors
D205 | 1 |  |  | 4 |  |  | No | No |  |  |  | Cupboard doors
D206 | 1 | Y |  | 1 |  |  | Yes | Yes |  | Y
D207 | 1 | Y |  | 1 |  | FD30S | No | Yes | Y | Y
D208 | 1 | Y |  | 1 |  | FD30S | No | Yes | Y | Y
D209 | 1 | Y |  | 1 |  | FD30S | No | Yes | Y | Y
D210 | 1 |  | Y | 1 | 1965 x 826 | FD30S | Yes | Yes |  |  |  | New door in existing frame.
D211 | 1 | Y |  | 1 |  | FD30S | Yes | Yes |  |  | FDKS | Remove doorguard and make good
D212 | 1 |  |  | 1 |  |  | Yes | Yes
D213 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y
D214 | 1 |  |  | 1 |  |  | No | Yes
D215 | 1 |  |  | 1 |  | FD30S | No | Yes |  |  | FDKS
D216 | 1 |  |  | 1 |  | FD30S | Yes | Yes | Y |  | FDKS | Replace smoke seal to frame
D217 | 1 |  |  | 1 |  |  | No | Yes |  | Y |  | New pull handle / push plate
D218 | 1 |  |  | 1 |  |  | No | Yes |  | Y |  | New pull handle / push plate
D219 | 1 |  | Y | 1.5 | 2040 x | FD30S | Yes | Yes |  |  | FDKS | New doors into enlarged opening
D220 | 1 |  |  | 1 |  | FD30S | Yes | Yes |  |  | FDKS
D221 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D222 | 1 | Y |  | 1 |  |  | No | Yes |  | Y |  | New pull handle / push plate
D223 | 1 |  |  | 1 |  | FD30S | Yes | Yes | Y |  |  | Repair door
D224 | 1 |  |  | 1 |  | FD30S | No | Yes |  |  | FDKL
D225 | 1 | Y |  | 2 |  | FD30S | Yes | Yes |  |  | FDKS | Infill screw holes
D226 | 1 | Y |  | 2 |  | FD30S | Yes | Yes |  |  |  | Replace pull handles
D227 | 1 |  |  | 1 |  |  | No | Yes
D228 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D229 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D230 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D231 | 1 | Y |  | 1 | 1981 x 838 |  | No | Yes |  |  | FDKS | Remove lock, Install new fire exit escape hardware
D232 | 1 |  |  | 2 |  | FD30S | Yes | Yes
D233 | 1 |  | Y | 1 | 2080x905 | FD30S | Yes | Yes |  |  | FDKS | New door in existing frame.
D234 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D235 | 1 |  |  | 2 |  | FD30S | Yes | Yes
D236 | 1 |  | Y | 1 | 2080 x 905 | FD30S | Yes | Yes |  |  | FDKS | New door in existing frame.
D237 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS
D238 | 1 |  |  | 1 |  |  | No | Yes
D239 | 1 |  |  | 1 |  |  | No | Yes
D240 | 1 |  |  | 1 |  |  | Yes | Yes
D241 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS
D242 | 1 |  |  | 1 |  |  | Yes | Yes |  | Y
D243 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS
D244 | 1 |  |  | 1 |  |  | No | Yes
D245 | 1 |  |  | 2 |  | FD30S | Yes | Yes |  |  | FDKS | Paint glazed screen above.
D246 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS | Oval cylinder escutcheon
D247 | 1 | Y |  | 1 |  | FD30S | No | Yes |  | Y |  | New pull handle / push plate
D248 | 1 |  |  | 1 |  | FD30 | No | Yes |  |  | FDKL
D249 | 1 |  |  | 1 |  |  | No | Yes
D250 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y |  | FDKS | Remove lock
D251 | 1 |  |  | 1 |  | FD30S | Yes | Yes
D252 | 1 |  | Y | 1.5 |  | FD30S | Yes | Yes |  |  | FDKS | New doors into enlarged opening
D253 | 1 | Y |  | 1 |  |  | Yes | Yes |  | Y |  | New pull handle / push plate
D254 | 1 |  |  | 1 |  |  | No | Yes
D255 | 1 |  |  | 1 |  | FD30S | Yes | Yes | Y
D256 | 1 |  |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS
D257 | 1 | Y |  | 1 |  | FD30S | Yes | Yes | Y | Y | FDKS | Infill screw holes
D258 | 1 |  |  | 1 |  | FD30S | Yes | Yes | Y
D259 | 1 |  |  | 2 |  | FD30S | Yes | Yes |  |  | FDKS | Paint glazed screen above.
D260 | 1 |  |  | 1 |  |  | Yes | Yes
Totals | [7 empty] | 133 | 22 | 23 | 29