| STEPHEN ANDREWS One Horton Heath - Development Planner | Application | DC/25/100142 |
| --- | --- | --- |
|  | Please ask for | Gregg Chapman |
|  | Direct dial | 023 8068 8236 |
|  | Email | gregg.chapman@eastleigh.gov.uk |
| Monday 1st December 2025 |  |  |

Dear Mr Andrews

Town and Country Planning Act 1990

Planning (Listed Buildings and Conservation Areas) Act 1990

In pursuance of their powers under the above Act and in accordance with your application received on 22 August 2025 and made valid on 26 August 2025, the Council, as Local Planning Authority hereby confirm the status of the following conditions in respect of:

| Application No: | DC/25/100142 |
| --- | --- |
| Description: | Discharge of condition 4 (plans and particulars) (f - finished floor levels and g- typical window details) and 41 (access to EVCP) from planning application F/20/89500 for 'Erection of 381 residential units with public open space, hard and soft landscape works, internal roads, footway/cycleways, associated parking spaces, substation, SuDS and associated infrastructure (This application is subject to Environmental Impact Assessment).' |
| Site: | Land west of Burnetts Lane, Eastleigh, SO30 2HH, Land west of Burnetts Lane, Eastleigh, SO30 2HH |

| Condition | Details | Compliance and Date |
| --- | --- | --- |
| 4f (Levels) and 4g (Windows) | The development shall not proceed beyond slab level of each sub-phase until plans and particulars showing the proposals for all the following aspects of the development have been submitted to and approved in writing by the Local Planning Authority for that phase. The development must then accord with these approved details: (a) External disabled access ramps and handrails. (b) Details of rainwater goods. (c) Details and location of meter boxes which should not be on front elevations unless unavoidable (d) Colours and materials for fascias and soffits. (e) Balcony and roof garden balustrade details (f) Finished floor levels in relation to existing levels and retaining structure (g) Typical window details and designs at 1:20 scale. (h) Photovoltaics and solar panels No plot shall be occupied until the approved details for that plot have been fully implemented, unless agreed in writing by the Local Planning Authority. Reason: To ensure a satisfactory visual appearance in the interest of the amenities of the area. Documents Submitted 4f (Levels) Plan No.s; - 1111 Rev.T03 - Levels – Sheet 1 - 1112 Rev.T03 - Levels – Sheet 2 - 1113 Rev.C05 - Levels – Sheet 3 - 1114 Rev.C07 - Levels – Sheet 4 - 1115 Rev.C02 - Levels – Sheet 5 - 1116 Rev.C07 - Levels – Sheet 6 - 1118 Rev.C02 - Levels – Sheet 8 [Received 25th September 2025] - 1117 Rev.C08 - Levels – Sheet 7 - 1119 Rev.C07 - Levels – Sheet 9 - 1120 Rev.C04 - Levels – Sheet 10 - 1121 Rev.C07 - Levels – Sheet 11 - 1122 Rev.C05 - Levels – Sheet 12 [Received 28th November 2025] 4g (Window and Door Details); Apartment window and door detail designs Plan No.s; - 5024100-DT-2518-A - 5024100-DT-AP-2519-A - 5024100-DT-2534-A - 5024100-DT-2535-A - 5024100-DT-2536-A - 5024100-DT-2537-A [All received 25th September 2025] House window and door detail designs – Plan No.s; - 5024100-DT-2301-D - 524100-DT-2306-D - 5024100-DT-2307-D - 5024100-DT-2308-B - 5024100-DT-2310-B - 5024100-DT-2312-G - 5024100-DT-2313-G - 5024100-DT-2331-D - 5024100-DT-2354-C - 5024100-DT-2356-E - 5024100-DT-2367-D - 5024100-DT-2368-G - 5024100-DT-2370-F [All received 25th September 2025] | Approved 1st December 2025 |

Where information has been submitted to discharge a condition, any approval given is subject to compliance with the approved details.

Yours faithfully

Nicholas Parker

Planning Manager