## Ceilings
CEILING WORKS - TO BE READ IN CONJUNCTION WITH WORK SCHEDULE SECTION 5
| Strip Out |  |  |  |  | New Ceiling
Room Ref | Retain Ceiling | Retain Metal Ceiling | Remove 600 grid ceiling | Remove tiles only | Remove Hidden Grid Ceiling (4.1 & 4.2) | New 600 grid with sound absorbing tile K40/115A | New 600 grid with standard tile K40/115B | Replace tiles in existing 600 grid, board edge. K45/370 | Retain metal ceiling. Clean, make good damaged sections. | New plasterboard suspended ceiling.
G-001 | Y
G-001A | Y
G-003 | Y
G-004 |  |  |  |  | Y |  | Y
G-004A |  |  |  |  | Y |  | Y
G-006 |  |  |  |  | Y |  | Y
G-007 | Y
G-008 |  |  |  |  | Y |  | Y
G-009 |  |  |  |  | Y |  | Y
G-010 |  |  |  |  | Y |  | Y
G-011 | Y
G-012 | Y
G-012A | Y
G-017 | Y
G-018 |  |  |  |  | Y |  | Y
G-019 |  |  |  |  | Y |  | Y
G-020 |  |  |  | Y |  |  |  | Y
G-021 |  |  |  |  | Y |  | Y
G-022 | Y
G-023 |  |  |  |  | Y |  | Y
G-024 |  |  |  |  | Y |  | Y
G-025 |  |  | Y |  |  |  | Y
G-026 | Y
G-027 | Y
G-028 |  |  |  |  | Y |  | Y
G-029 |  |  |  |  | Y |  | Y
G-030 |  | Y | [6 empty] | Y
G-031 | [5 empty] | Y
G-032 | [5 empty] | Y
G-033 | [5 empty] | Y
G-034 | Y
G-035 | Y
G-036 | Y
G-037 | Y
G-038 | Y
G-039 | Y
G-040 |  |  | Y | [6 empty] | Y
G-041 |  |  |  |  | Y |  | Y
G-041A |  |  |  | Y |  |  |  | Y
G-084 |  | Y | [6 empty] | Y
G-043 |  |  |  |  | Y
G-044 |  |  |  |  | Y
G-048 |  |  |  |  | Y
G-049 |  |  |  | Y |  |  |  | Y
G-050 |  |  |  | Y |  |  |  | Y
G-051 |  |  |  | Y |  |  |  | Y
G-052 |  |  |  |  | Y |  | Y
G-053 | Y
G-054 | Y
G-055 | Y
G-056 |  |  |  |  | Y | Y
G-057 |  |  |  |  | Y |  | Y
G-060 | Y
G-061 | Y
G-062 | Y
G-063 | Y
G-064 | Y
G-065 | Y
G-066 | Y
G-067 | Y
G-068 | Y
G-069 | Y
G-071 |  |  |  |  | Y |  | Y
G-072 | Y
G-073 |  |  |  |  | Y |  | Y
G-074 | Y
G-075 | Y
G-076 | Y
G-077 | Y
G-080 | Y
G-080A | Y
G-081 | Y
G-081A | Y
G-082 | Y
G-083 | Y
G-083A | Y
1-001 | Y
1-002 | Y
1-003 | Y
1-004 | Y
1-005 |  |  |  |  | Y |  | Y
1-006 |  |  |  |  | Y |  | Y
1-007 | Y
1-008 | Y
1-009 |  |  |  |  | Y |  | Y
1-010 |  |  |  |  | Y |  | Y
1-011 | Y
1-012 | Y
1-013 |  |  |  | Y |  |  |  | Y
1-014 | Y
1-015 |  |  |  |  | Y |  | Y
1-016 |  |  |  |  | Y |  | Y
1-017 |  |  |  |  | Y | Y
1-018 |  | Y
1-018A |  | Y |  | Y
1-019 | Y
1-020 | Y
1-021 | Y
1-022 |  |  |  |  | Y | Y
1-023 |  |  |  |  | Y |  | Y
1-024 |  |  |  |  | Y |  | Y
1-025 |  |  |  | Y |  |  |  | Y
1-026 |  |  |  |  | Y |  | Y
1-028 |  |  |  |  | Y | Y
1-029 |  |  |  |  | Y | Y
1-030 |  |  |  | Y |  |  |  | Y
1-031 |  |  |  |  | Y | Y
1-032 | Y
1-033 | Y
1-034 |  |  |  |  | Y |  | Y
1-035 |  |  |  |  | Y |  | Y
1-036 |  |  |  |  | Y | Y
1-038 |  |  |  |  | Y |  | Y
1-039 | Y
1-040 | Y
1-041 | Y
1-042 |  |  |  |  | Y | Y
1-043 | Y
1-044 | Y
1-045 | Y