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	Case Ref
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	Refusal Reasons
	Date Refused
	Search Tip/Outcome

	O/23/00876/FUL
	Moorgreen Farm, Burnetts Lane, West End (2 homes via 3.8 m private drive)
	Narrow 3.8 m + no turning; DM13 breach (unsafe fire/refuse); easement overburden. Appeal dismissed Aug 2024.
	Feb 2023
	Portal: "Moorgreen Farm backland" – Refused, appeal lost.

	O/22/00987/FUL
	Fair Oak Garden (7 homes via 3.9 m drive)
	3.9 m fails MfS p.75 (no passing bays); S6 intensification harm; HFRS objected.
	Nov 2022
	Portal: "Fair Oak garden backland" – Refused; resubmitted with widening.

	O/24/00567/FUL
	Hamble Lane Orchard (5 homes via 3.5 m easement)
	3.5 m + private verges = not drivable; DM13/DM14 breach for 10 homes; refuse fails.
	Mar 2024
	Portal: "Hamble Lane orchard" – Refused.

	O/21/02345/OUT
	Orchard Lane, Botley (4 homes via 3.7 m drive)
	3.7 m inadequate for 8 homes; verges excluded; Parking SPD breach (min 4.8 m intensification).
	Apr 2021
	Portal: "Orchard Lane Botley" – Refused; appeal dismissed Oct 2022.

	O/20/01567/FUL
	12 Bishops Close, Chandler's Ford (3 homes via 3.5 m drive)
	3.5 m narrow; no swept-path for emergencies; DM13 unsafe.
	Nov 2020
	Portal: "Bishops Close backland" – Refused.




